1. Question: How many fire sprinkler risers are in the building?

Answer: 1.

1. Question: How many waterflow and tamper switches?

Answer: (2) Water flows & (6) Tampers.

1. Question: Is there only one fire pump? Electric or Diesel? How many GPM?

Answer**:** (1) Diesel- 500 GPM

1. Question: How many PIV’s on the property?

 Answer: No PIV’s, but (2) Main OS&Y’s