## Instructions
Judicial Council of California Proposed System Specification Form
Lists (sneaky)
Yes | Tie-In
No | NEMA
Instructions for completing Attachment C1
General instructions:
- Complete one AttC1 form for your proposal
- Fill in all yellow cells that pertain to your project.
- Do NOT alter gray cells. You may use unused cells for calculations.
- Instructions and notes for each worksheet are shown at the top of the worksheet.
- Some column headings have notes that explain what they mean. These are shown with a red triangle in the upper
right hand corner of the cell. Hold your cursor over the cell to see the explanation.
Suggested steps for completing AttC1:
1) Begin with the System Specification tab and fill in all pertinent information for your proposal in the yellow cells.
Questions regarding completing AttC1, the Project, or the RFP:
Questions concerning how to fill out AttC1 or those that pertain generally to the project, RFP or proposal must be emailed to the address specified in the RFP, BEFORE the due date and time for RFP question submission. Questions submitted after the published due date and time may not be answered.

## Site Data
Attachment C2, Site Data
Judicial Council of California Proposed System Specification Form
Site Number | Site Name | Site ID | Service Address | Service Provider | Service Account ID | Meter ID | Current Tariff | Post-Construction Tariff | Tie-in or NEMA | Current Annual Electricity Usage (kWh) | Year 1 Target PV Production (kWh) | Minimum BESS Size (kW AC) | Minimum BESS Size (kWh) | Rooftop Solar Available | Roof Area to be Replaced (if Rooftop array included in design) (sqft) | Roof Material | Rooftop notes | PPA/SEL Term (yrs) | IA Status | IA (PV kW AC) | IA (BESS kW AC) | Include
1 | Fremont Hall of Justice | 01-H1 | 39439 PASEO PADRE PKWY., FREMONT, CA 94538 | PG&E / EBCE | 4726262076 | 1009904834 | A-6 BrightChoice | A-6 BrightChoice | Tie-in | 816392.4 | 735000 | 189 | 559 | Yes | 52000 | Modified Bitumen | Roof replacement required if roof is used | 20 | Deemed Complete | 724.5 | 210 | Yes
2 | Amador Superior Court | 03-C1 | 500 ARGONAUT LANE, JACKSON, CA 95642 | PG&E | 2232606688 | 1009483914 | B-10S | B-10S | Tie-in | 258370.56 | 233000 | 63 | 177 |  |  |  |  | 20 | Deemed Complete | 150 | 70 | Yes
3 | North Butte County Courthouse | 04-F1 | 1775 CONCORD AVENUE, CHICO, CA 95928 | PG&E | 5424348248 | 1009947618 | B-10S | B-10S | Tie-in | 992079 | 893000 | 315 | 680 |  |  |  |  | 20 | Deemed Complete | 550 | 350 | Yes
4 | Bray Courts | 07-A3 | 1020 WARD ST., MARTINEZ, CA 94553 | PG&E | 0010715483 | 9279R9 | B-10S | B-10S | Tie-in | 750125.2 | 675000 | 189 | 514 | Yes |  | Single Ply Roofing |  | 18 | Deemed Complete | 100 | 210 | Yes
5 | Richard E. Arnason Justice Center | 07-E3 | 1000 CENTER DRIVE, PITTSBURG, CA 94565 | PG&E / MCE | 8451993330 | 1010423032 | B-19S | B-19S Option R | Tie-in | 833400.9015 | 750000 | 189 | 571 |  |  |  |  | 20 | Deemed Complete | 550 | 210 | Yes
6 | Walnut Creek Courthouse | 07-C1 | 640 YGNACIO VALLEY RD., WALNUT CREEK, CA 94596 | PG&E / MCE | 8403814112 | 1009408792 | B-10S | B-10S | Tie-in | 183000.6 | 165000 | 63 | 125 |  |  |  |  | 20 | Deemed Complete | 133.2 | 70 | Yes
7 | B. F. Sisk Courthouse | 10-O1 | 1130 O ST., FRESNO, CA | PG&E | 9044461209 | 1010046598 | B-10S | B-10S | Tie-in | 1782103.6 | 1604000 | 378 | 1221 | Yes |  | Modified Bitumen | Post fall 2022 solar install after reroof by JCC | 20 | Submitted | 400 | 420 | Yes
8 | Imperial County Courthouse | 13-A1 | 939 W. MAIN ST., EL CENTRO, CA 92243 | IID | 50532739 | IID-2B6B-200136 | GS | GS / DG | Tie-in | 393840 | 354000 | 45 | 180 |  |  |  |  | 20 | Not Submitted |  |  | Yes
9 | Delano/North Kern Court | 15-D1 | 1122 JEFFERSON ST., DELANO, CA 93215 | SCE | 3033678637 | 259000-074761 | TOU-GS-2-D-CPP | TOU-GS-2-E-CPP | Tie-in | 187932.5496 | 169000 | 63 | 129 | Yes |  | Modified Bitumen |  | 20 | Deemed Complete | 99.9 | 70 | Yes
10 | Kings Superior Court | 16-A5 | 1640 KINGS COUNTY DRIVE, HANFORD, CA 93230 | SCE | 3043544311 | 259000-079230 | TOU-8-D | TOU-8-E | Tie-in | 2054349.8663 | 1849000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | 700 | 280 | Yes
11 | Whittier Courthouse | 19-AO1 | 7339 PAINTER AVENUE, WHITTIER, CA 90602 | SCE / Clean Power Alliance | 8002609713 | 359150-006456 | TOU-GS-3-D | TOU-GS-3-E | Tie-in | 1475081.4012 | 1328000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | 233.1 | 280 | Yes
12 | Santa Monica Courthouse | 19-AP1 | 1725 MAIN STREET, SANTA MONICA, CA 90401 | SCE / Clean Power Alliance | 8004206574 | V349P-006235 | TOU-GS-3-D | TOU-GS-3-E | Tie-in | 1835328.4812 | 1652000 | 315 | 1044 | Yes |  | Single ply |  | 18 | Deemed Complete | 350 | 350 | Yes
13 | Van Nuys Courthouse East | 19-AX1 | 6230 SYLMAR AVENUE, VAN NUYS, CA 91401 | LADWP | 6691517575 | 2293691 | A-3 | A-3 | Tie-in | 2120866.992 | 1909000 | 252 | 835 |  |  |  |  | 20 | Not Submitted |  |  | No
14 | Torrance Courthouse | 19-C1 | 825 MAPLE AVENUE, TORRANCE, CA 90503 | SCE | 8004206765 | V349P-000265 | TOU-GS-2-D-CPP | TOU-GS-2-E-CPP | Tie-in | 2738904.2412 | 2465000 | 567 | 1876 |  |  |  |  | 20 | Deemed Complete | 1500 | 630 | Yes
15 | Glendale Courthouse | 19-H1 | 600 EAST BROADWAY, GLENDALE, CA 91206 | Glendale Water & Power | 32092880-02 | 250593 | LD2A2 | LD2A2 | Tie-in | 630337.28 | 567000 | 126 | 432 |  |  |  |  | 20 | Not Submitted |  |  | Yes
16 | Monrovia Training Center | 19-N1 | 300 W. MAPLE AVE., MONROVIA, CA 91016 | SCE | 8004193001 | 255000-001981 | TOU-GS-2-D-CPP | TOU-GS-2-E-CPP | Tie-in | 100657.532 | 91000 | 22.5 | 69 | Yes |  | Multiple |  | 20 | Deemed Complete | 66.6 | 70 | Yes
17 | Edmund D. Edelman Children's Court | 19-Q1 | 201 CENTRE PLAZA DRIVE, MONTEREY PARK, CA 91754 | SCE | 8004169760 | V349P-001660 | TOU-8-D | TOU-8-E | Tie-in | 3100698.9612 | 2791000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | 699.3 | 280 | Yes
18 | Hollywood Courthouse | 19-S1 | 5925 HOLLYWOOD BOULEVARD, LOS ANGELES, CA 90028 | LADWP | 1408407987 | 2255224 | A-2 | A-2 | Tie-in | 691281.819 | 622000 | 189 | 473 |  |  |  |  | 20 | Not Submitted |  |  | Yes
19 | Pomona Courthouse South | 19-W1 | 400 CIVIC CENTER PLAZA, POMONA, CA 91766 | SCE | 8004194714 | V349P-00637 | TOU-8-D | TOU-8-E | Tie-in | 2961747.0012 | 2666000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | 700 | 280 | Yes
20 | The Robert M. Falasco Justice Center | 24-G1 | 1159 G STREET, LOS BANOS, CA 93635 | PG&E | 3423047368 | 1009515128 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 383417.6 | 345000 | 126 | 263 |  |  |  |  | 20 | Deemed Complete | 250 | 140 | Yes
21 | Mammoth Lakes Courthouse | 26-B2 | 100 THOMPSON WAY, MAMMOTH LAKES, CA 93546 | SCE | 8000263819 | 259000-062390 | TOU-GS-2-D | TOU-GS-2-E | Tie-in | 238125.9815 | 214000 | 63 | 163 |  |  |  |  | 20 | Deemed Complete | 133.2 | 70 | Yes
22 | Banning Justice Center | 33-G4 | 311 EAST RAMSEY, BANNING, CA 92220 | City of Banning | 85791-55378 | 16477E | Commercial | Commercial | Tie-in | 1137000 | 1023000 | 126 | 418 |  |  |  |  | 20 | Not Submitted |  |  | Yes
23 | San Benito County Superior Court | 35-C1 | 450 FOURTH STREET, HOLLISTER, CA 95023 | PG&E / CCCE | 2875021063 | 1010260264 | B-10S | B-10S | Tie-in | 476762.32 | 429000 | 126 | 327 |  |  |  |  | 20 | Deemed Complete | 333 | 140 | Yes
24 | San Bernardino Justice Center | 36-R1 | 247 WEST THIRD STREET, SAN BERNARDINO, CA 92415 | SCE | 8004862590 | V349N-018597 | TOU-8-D CPP | TOU-8-E CPP | Tie-in | 3007750.2012 | 2707000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | 700 | 280 | Yes
25 | Kearny Mesa Court | 37-C1 | 8950 CLAIREMONT MESA BLVD., SAN DIEGO, CA 92123 | SDG&E / SDCP | 0030646900830 | 06690564 | ALTOUCP2 | ALTOUCP2 | Tie-in | 573530.28 | 516000 | 126 | 351 | Yes |  | Modified Bitumen |  | 20 | Deemed Complete | 350 | 140 | Yes
26 | East County Regional Center | 37-I1 | 250 E. MAIN ST., EL CAJON, CA 92020 | SDG&E | 0031438695083 | 06687284 | ALTOUCP2 | ALTOUCP2 | Tie-in | 3757483.65 | 3382000 | 378 | 1253 |  |  |  |  | 20 | Deemed Complete | 550 | 420 | Yes
27 | Northern Branch Courthouse | 41-C1 | 1050 MISSION RD., SOUTH SAN FRANCISCO, CA 94080 | PG&E / PCE | 7980429711 | 1009540401 | B-10S | B-10S | Tie-in | 401119.88 | 361000 | 63 | 275 |  |  |  |  | 20 | Deemed Complete | 150 | 70 | Yes
28 | Downtown Superior Court | 43-B1 | 191 N. FIRST ST., SAN JOSE, CA 95113 | PG&E / SJCE | 1862243249 | 0P1390 | B-19S | B-19S Option R | Tie-in | 2079047.03 | 1871000 | 315 | 726 |  |  |  |  | 20 | Deemed Complete | 333 | 350 | Yes
29 | Sutter County Superior Courthouse | 51-C1 | 1175 CIVIC CENTER BLVD., YUBA CITY, CA 95993 | PG&E | 3429640317 | 5000037342 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 1059942.3 | 954000 | 315 | 726 |  |  |  |  | 20 | Deemed Complete | 600 | 350 | Yes
30 | Tehama County Courthouse | 52-E1 | 1740 WALNUT STREET, RED BLUFF, CA 96080 | PG&E | 7120026238 | 1008843645 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 620107.5 | 558000 | 189 | 425 | Yes |  | Single ply membrane, TPO / PVC |  | 20 | Deemed Complete | 350 | 210 | Yes
31 | South County Justice Center | 54-I1 | 300 EAST OLIVE AVENUE, PORTERVILLE, CA 93257 | SCE | 8000534833 | V349N-003192 | TOU-GS-3-D CPP | TOU-GS-3-E CPP | Tie-in | 1330880.6412 | 1198000 | 252 | 912 |  |  |  |  | 20 | Deemed Complete | 700 | 280 | Yes
32 | Yolo Superior Court | 57-A10 | 1000 MAIN STREET, WOODLAND, CA 95695 | PG&E / VCEA | 6751141316 | 1010078999 | B-19S | B-19S Option R | Tie-in | 1377841.2 | 1240000 | 252 | 835 | Yes |  | Modified Bitumen |  | 20 | Deemed Complete | 466.2 | 490 | Yes
33 | Santa Ana Courthouse | 64-E1 | 23 Civic Center Plz, Santa Ana, CA 92701 | SCE | 700540438271 | V349N-009045 | TOU-GS-2-D CPP | TOU-GS-2-E CPP | Tie-in | 561923 | 505730 | 126 | 385 | Yes |  | PVC |  | 20 | Deemed Complete | 100 | 145 | Yes
34 | Van Nuys Courthouse West | 19-AX2 | 14410 Erwin St, Van Nuys, CA 91401 | LADWP | 3419994289 | 1APMYVL00231-00002851 | A-3 | A-3 | Tie-in | 2983680 | 2685312 | 252 | 835 |  |  |  |  | 20 | Not Submitted |  |  | Yes
[9 empty] | Project Totals | 41774242.9783 | 37598042 | 6682.5 | 20119
Notes:
Current Annual Electricity Usage (kWh) is based on the interval usage profiles for CY2019
Roof Area only listed for sites that shall include Roof Replacement Costs as a Project Development Cost if the rooftop is used. If Rooftop is not used do not include rooop replacement. Other rooftop systems do not include full roof replacement.
Some sites require a Solar Equipment Lease (SEL) rather than a PPA. Each Proposal sheet specifies which pricing is being requested.

## Existing Generator Details
Attachment C1, Existing Generator Details
Judicial Council of California Proposed System Specification Form
Site Number | Site Name | Site ID | Include | Onsite Emergency Generator (Y/N) | Onsite Generator Location | Onsite Generator Manufacturer | Onsite Generator Model | Onsite Generator Serial Number | Generator In Service Date | Generator HP | Generator Voltage | Generator Amps | Generator Fuel Type | Generator Phase | Generator Notes | Generator Floor Number | Generator Room Number | Generator Room Description | Generator Drawing Location | Generator Manual Location | Generator Permit To Operate | Generator Permitting Agency
1 | Fremont Hall of Justice | 01-H1 | Yes | Y | Floor 4, Boiler Room | Kohler | 100RO271 | 482095 | 27760 | 180 | 480 | NA | Diesel | 3 | Diesel engine: White Model NA, serial number 4003796, 478 cu. in. | ALL | Boiler Room | Floor 4, Boiler Room | Air Compressor room | Maintenance Office | YES | Bay Area AQMD
2 | Amador Superior Court | 03-C1 | Yes | Y | Parking Lot | Kohler | D1DOPEOZJC | 2140144 | 39249 | 157 | 120/240 | DNA | Diesel | 3 Ph, 60 Hz | Diesel Engine: John Deere Model 4045HF275, Block Serial Number PE4045H634573, 200 Gallon Diesel Tank Permit requirements: Maintenance & testing operations limit = 50 hours. Annual submission of hours of operation for maintenance and testing, total hours of operation, type and quantity of fuel, end-of-year hours meter reading Diesel belly tank: 200 gallons anti freeze = 4 gal | Exterior | NA | Parking Lot | Electrical Room | Electrical Room | YES | Amador County APCD
3 | North Butte County Courthouse | 04-F1 | Yes | Y | Exterior Chiller Yard | Generac | SD500 | SD500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | Bray Courts | 07-A3 | Yes | Y | Roof | Empire Generator Corp. | 600DKW-8E | 371-298 | 31413 | 110 | 277/480 | 90 | Diesel | 3 | Diesel engine: Perkins Model 3711404A-1, Serial Number 36811443 Diesel belly tank: 60 gallons. | Roof | Roof | Roof | DNA | DNA | YES | Bay Area AQMD
5 | Richard E. Arnason Justice Center | 07-E3 | Yes | Y | EXTERIOR | CUMMINS | DFEH-44600033 | E100117640 | 40497 | 755 | 460 | DNA | Diesel | 3 | 400KW. Diesel engine: Cummins Model QSX15-G9 Nonroad 2, year = 2010, serial number = NA Diesel belly tank: 660 gallons. | Exterior | NORTHWEST QUADRANT | EXTERIOR | MAINTENANCE OFFICE | MAINTENANCE OFFICE | Yes | Bay Area AQMD
6 | Walnut Creek Courthouse | 07-C1 | Yes | Y | East / Behind Sally Port | Onan | 6.0 Genset | DNA | 1 | 16.5 | 480 | DNA | Diesel | 3 | No Tag No Bay Area AQMD permit because HP < 50 Diesel engine: NA Model NA_ Diesel belly tank: 8 gallons | 0 | Cage | East / Behind Sally Port | DNA | DNA | No | Bay Area AQMD
7 | B. F. Sisk Courthouse | 10-O1 | Yes | Y | Emergency Generator Room | Caterpillar | Model 3406 | 8ER03434 | 40534 | 599 | 480 | 527 | Diesel | 0 | Phase = (3 WYE), Oil Filter - 1R-0716 (CAT), Fuel Filter - 1R-0749 (CAT), Air Cleaner Filter Panel - 4N-0015-CAT, Hydraulic Filter PS50251 (Donaldson) Diesel engine: Caterpillar Model 3406 | Basement | B80 | Emergency Generator Room | DNA | DNA | Yes | San Joaquin Valley APCD
8 | Imperial County Courthouse | 13-A1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | Delano/North Kern Court | 15-D1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | Kings Superior Court | 16-A5 | Yes | Y | 1st Flr. Cetral Plant Generator Enclosure | Caterpillar | C27 | CAT00C27KGDS00553 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | Whittier Courthouse | 19-AO1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | Santa Monica Courthouse | 19-AP1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | Van Nuys Courthouse East | 19-AX1 | No | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | Torrance Courthouse | 19-C1 | Yes | Y | Lower Level Chiller Room. MECHANICAL ROOM | Onan Electric | 45DEF-4XR8/1B | 36C87569 | 24473 | 87 | 480 | 60 | Diesel | 3 | 1800 rpm . VERIFIED 10-25-11 Diesel engine: Ford Model 45DEF4XR8/AB, Serial number 36C875691. | Basement | MECHANICAL ROOM ADJACENT TO ADMINISTRATION ROOM | Lower Level Chiller Room. MECHANICAL ROOM | MECHANICAL ROOM | None | Yes | South Coast AQMD
15 | Glendale Courthouse | 19-H1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | Monrovia Training Center | 19-N1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | Edmund D. Edelman Children's Court | 19-Q1 | Yes | Y | Generator Room | Caterpillar | SR4 | 5TD01013 | 33604 | 1575 | 480 | 1654 | Diesel | 3 | Diesel engine: Caterpillar Model 3512-DITA, Serial number 24Z03826, 12 cylinder. RPM 1800, Frame 687, KVA 1100. | Floor 1 | Generator Room | Generator Room | DNA | DNA | Yes | South Coast AQMD
18 | Hollywood Courthouse | 19-S1 | Yes | Y | Roof Generator Room | Cummins | DSFAA-7280169 | K080219614 | 41022 | 66 | DNA | DNA | Diesel | DNA | Retired: Replaced by GEN02 ABM ADS 8/2014 | Roof | NA | EAST SIDE | DNA | DNA | Yes | SQMD ID# 127781, PERMIT#41485, A/N 385014
19 | Pomona Courthouse South | 19-W1 | Yes | Y | OPEN TUNNEL AREA | ONAN | 220DFM-4XR8/5489B | 960916976 | 24838 | 312 | 480 | DNA | diesel | 3 | Diesel engine: Cummins Model NTA 400 IPG, Serial number 530957. Belts: TR28522 (2), TR22373 (1), 17A1110 (1), Filters Kohler 279260 (1), Wix Filter 51243 (1) | Basement | BASEMENT | OPEN TUNNEL AREA | M-1A | DNA | Yes | South Coast AQMD
20 | The Robert M. Falasco Justice Center | 24-G1 | Yes | Y | East Side of Grounds in Generator Area | Iveco | F3AE9685A-E | 9906865 | 42502 | 449 | 408 | NA | Diesel | NA | Diesel engine: Iveco/FPT Model F3AE9685A-E (Tier 3 Certified). Diesel belly tank: 450 gallons 375 KVA" | Grounds | East Side of Grounds in Generator Area | East Side of Grounds in Generator Area | Mech Office | Mech Office | Yes | San Joaquin Valley APCD
21 | Mammoth Lakes Courthouse | 26-B2 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
22 | Banning Justice Center | 33-G4 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
23 | San Benito County Superior Court | 35-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
24 | San Bernardino Justice Center | 36-R1 | Yes | Y | GROUNDS | STAMFORD | NA | DQGAB-1324752 | 41640 | 2650 | 480 | 2273.4 | Diesel | DNA | Diesel engine: Cummins Model QSK50-G4, Serial number 50264 Diesel belly tank: 850 gallons. Updated serial number to DQGAB-1324752 11/15 ADS | Grounds | GROUNDS | GROUNDS | DNA | DNA | Yes | South Coast AQMD
25 | Kearny Mesa Court | 37-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
26 | East County Regional Center | 37-I1 | Yes | Y | 176 | Cummins Onan | DFED-3380102 | I990992837 | 2002 | 755 | 480 | 500 kW (input Bob Perkins 5/25/2016) | Diesel | 3 | BACK UP GENERATOR Diesel engine: Cummins Model KTA19-G4, Serial 65306. Date MFG 09/99 | Basement | Main Plant | 176 | MAINTENACE SHOP | MAINTENANCE SHOP | Yes | San Diego County APCD
27 | Northern Branch Courthouse | 41-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
28 | Downtown Superior Court | 43-B1 | Yes | Y | TBD | TBD | TBD | TBD | 40291 | DNA | 188000 | 226 | Electric | 3 | generator serves bot 43-B1 ans 43-B2 | Grounds | Grounds | south side of building in fenced enclosure | fenced enclosure | DNA | Yes | Bay Area Air Quality Management District
29 | Sutter County Superior Courthouse | 51-C1 | Yes | Y | Generator Yard | Onsite Energy | DS500D6SRA | 130901044-010010 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
30 | Tehama County Courthouse | 52-E1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
31 | South County Justice Center | 54-I1 | Yes | Y | Generator Compound | Caterpillar | LC7 Generator | G7A04207 | 25568 | 900 | 480 | DNA | Diesel | 3 | LC7/C18 gen-set produces 750 KVA / 600KW Diesel engine: Caterpillar Model C18, Serial number FST00761 Permit requirements: Reliability-related testing shall not exceed 50 hours per year. Diesel belly tank: 500 gallons. | Exterior | Judges Parking Area | Generator Compound | DNA | DNA | Yes | San Joaquin Valley APCD
32 | Yolo Superior Court | 57-A10 | Yes | Y | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
33 | Santa Ana Courthouse | 64-E1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
34 | Van Nuys Courthouse West | 19-AX2 | Yes | Y | Basement Generator Room | DETROIT DIESEL | 81637405 | 6H05713 | 32509 | 1094 | 480 | 1127.6 | Diesel | 3 | Diesel engine: Detroit Diesel Model 81637405, Serial number 16VF006793. | Basement | DNA | GENERATOR ROOM | DNA | DNA | Yes | South Coast AQMD

## System Specification
DO NOT DELETE | DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. 2) If no value is proposed leave cell blank. 3) Do not alter gray cells.
Attachment C1, System Specification
Judicial Council of California Proposed System Specification Form
Proposing Company Name:
System Specification
[7 empty] | SOLAR PV SPECIFICATIONS | [10 empty] | BESS/MICROGRID SPECIFICATIONS
[7 empty] | PV Module Specification |  |  |  |  | Inverter Specification | [5 empty] | BESS Details |  |  |  | SGIP | Migrogrid Details
DO NOT DELETE | Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Minimum BESS Size (kW / kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio | BESS Provider | Battery Manufacturer | Control System/Software Provider | Total Footprint Req'd (sqft) | SGIP Reservation Details Assumed (Step, Type) | Management System Provider | Management System Manufacturer | Power Conversion System Provider | Power Conversion System Manufacturer | Controller Provider | Controller Manufacturer
1 | 1 | Fremont Hall of Justice | 01-H1 | Yes | 735000 | 189 / 559 |  |  |  |  | 0 | [5 empty] | 0
2 | 2 | Amador Superior Court | 03-C1 | Yes | 233000 | 63 / 177 |  |  |  |  | 0 | [5 empty] | 0
3 | 3 | North Butte County Courthouse | 04-F1 | Yes | 893000 | 315 / 680 |  |  |  |  | 0 | [5 empty] | 0
4 | 4 | Bray Courts | 07-A3 | Yes | 675000 | 189 / 514 |  |  |  |  | 0 | [5 empty] | 0
5 | 5 | Richard E. Arnason Justice Center | 07-E3 | Yes | 750000 | 189 / 571 |  |  |  |  | 0 | [5 empty] | 0
6 | 6 | Walnut Creek Courthouse | 07-C1 | Yes | 165000 | 63 / 125 |  |  |  |  | 0 | [5 empty] | 0
7 | 7 | B. F. Sisk Courthouse | 10-O1 | Yes | 1604000 | 378 / 1221 |  |  |  |  | 0 | [5 empty] | 0
8 | 8 | Imperial County Courthouse | 13-A1 | Yes | 354000 | 45 / 180 |  |  |  |  | 0 | [5 empty] | 0
9 | 9 | Delano/North Kern Court | 15-D1 | Yes | 169000 | 63 / 129 |  |  |  |  | 0 | [5 empty] | 0
10 | 10 | Kings Superior Court | 16-A5 | Yes | 1849000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
11 | 11 | Whittier Courthouse | 19-AO1 | Yes | 1328000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
12 | 12 | Santa Monica Courthouse | 19-AP1 | Yes | 1652000 | 315 / 1044 |  |  |  |  | 0 | [5 empty] | 0
13 | 13 | Van Nuys Courthouse East | 19-AX1 | No | 1909000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
14 | 14 | Torrance Courthouse | 19-C1 | Yes | 2465000 | 567 / 1876 |  |  |  |  | 0 | [5 empty] | 0
15 | 15 | Glendale Courthouse | 19-H1 | Yes | 567000 | 126 / 432 |  |  |  |  | 0 | [5 empty] | 0
16 | 16 | Monrovia Training Center | 19-N1 | Yes | 91000 | 22.5 / 69 |  |  |  |  | 0 | [5 empty] | 0
17 | 17 | Edmund D. Edelman Children's Court | 19-Q1 | Yes | 2791000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
18 | 18 | Hollywood Courthouse | 19-S1 | Yes | 622000 | 189 / 473 |  |  |  |  | 0 | [5 empty] | 0
19 | 19 | Pomona Courthouse South | 19-W1 | Yes | 2666000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
20 | 20 | The Robert M. Falasco Justice Center | 24-G1 | Yes | 345000 | 126 / 263 |  |  |  |  | 0 | [5 empty] | 0
21 | 21 | Mammoth Lakes Courthouse | 26-B2 | Yes | 214000 | 63 / 163 |  |  |  |  | 0 | [5 empty] | 0
22 | 22 | Banning Justice Center | 33-G4 | Yes | 1023000 | 126 / 418 |  |  |  |  | 0 | [5 empty] | 0
23 | 23 | San Benito County Superior Court | 35-C1 | Yes | 429000 | 126 / 327 |  |  |  |  | 0 | [5 empty] | 0
24 | 24 | San Bernardino Justice Center | 36-R1 | Yes | 2707000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
25 | 25 | Kearny Mesa Court | 37-C1 | Yes | 516000 | 126 / 351 |  |  |  |  | 0 | [5 empty] | 0
26 | 26 | East County Regional Center | 37-I1 | Yes | 3382000 | 378 / 1253 |  |  |  |  | 0 | [5 empty] | 0
27 | 27 | Northern Branch Courthouse | 41-C1 | Yes | 361000 | 63 / 275 |  |  |  |  | 0 | [5 empty] | 0
28 | 28 | Downtown Superior Court | 43-B1 | Yes | 1871000 | 315 / 726 |  |  |  |  | 0 | [5 empty] | 0
29 | 29 | Sutter County Superior Courthouse | 51-C1 | Yes | 954000 | 315 / 726 |  |  |  |  | 0 | [5 empty] | 0
30 | 30 | Tehama County Courthouse | 52-E1 | Yes | 558000 | 189 / 425 |  |  |  |  | 0 | [5 empty] | 0
31 | 31 | South County Justice Center | 54-I1 | Yes | 1198000 | 252 / 912 |  |  |  |  | 0 | [5 empty] | 0
| 32 | Yolo Superior Court | 57-A10 | Yes | 1240000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
| 33 | Santa Ana Courthouse | 64-E1 | Yes | 505730 | 126 / 385 |  |  |  |  | 0 | [5 empty] | 0
32 | 34 | Van Nuys Courthouse West | 19-AX2 | Yes | 2685312 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
[10 empty] | Project Totals | 0 |  |  |  |  | 0 | 0 |  |  |  | 0

## Lists (hidden)
#REF!
FORM C2, Lists
#REF!
Utility Company
PG&E
Yes/No |  | PPA Contact Term | Wire Type | Lease Types
Yes |  | 20 | Copper | Capital
No |  | 25 | Aluminum | Operating
Municipal
Tariff Lists |  |  | Active Tariff
PG&E | SCE | SDG&E | PG&E
A-1 | GS-1 |  | A-1
A-6 | GS-2 |  | A-6
A-10-S | GS-2-TOU-A |  | A-10-S
A-10-P | GS-2-TOU-R |  | A-10-P
A-10-T | RTP-2 |  | A-10-T
A-10 TOU-S | TOU-GS-1 |  | A-10 TOU-S
A-10 TOU-P | TOU-GS-3-A |  | A-10 TOU-P
A-10 TOU-T | TOU-GS-3-B |  | A-10 TOU-T
E-19-S | TOU-GS-3-R |  | E-19-S
E-19-P | TOU-8-A (<2kV) |  | E-19-P
E-19-T | TOU-8-B (<2kV) |  | E-19-T
TOU-8-R (<2kV)
Environmental Constants
CO2 lbs/kWh |  |  | Panel Mount Types
MEA |  |  | Ground
PG&E | 0.559 |  | Array Over Parking
SCE | 0.665 |  | Shade Structures
SDG&E | 0.915 |  | Roof Ballasted
Passenger Vehicle CO2/Year |  |  | Roof Racked
lbs CO2/Gal. | 19.643
Miles/yr | 12500 |  | Mounting types
MPG | 25 |  | Single Post, Single Cantilever
lbs CO2/car/yr | 9821.5 |  | Single Post, Double Cantalever
Trees |  |  | Multi-Post, non-Cantilever
lbs CO2/year/tree | 13
lbs CO2/year/acre | 5200