## VFA Table Summary
VFA Facility Data Summary
VFA is a capital planning software that the Judicial Council uses to help forecast long-term costs, explore the impact of different spending levels on facility conditions, develop cost-effective capital projects from prioritized capital needs and compare assets across its portfolio using industry-standard benchmarks with JCC building and JCC building condition data to inform stakeholders through a custom dashboard.
Module | Headers | Records
Action | 48 | 78657
Assembly | 12 | 1206
Building | 152 | 1206
County | 30 | 126
Line Item | 12 | 103932
Region | 17 | 8
Requirement | 86 | 79749
Room | 17 | 1206
System | 55 | 69728
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Ho, Quyen @O'Hagin, Harry @Rodil, Antonio A summary of what is VFA will help the vendor to understand the data. My understanding is RFP will have the requirements and will be implemented in 2.0, and the data will migrate to the system. Reply: @Maharaj, Rajat @Ho, Quyen Raj: Please provide a VFA Summary per Anand's feedback. Reply: @Kumar, Anandkumar I have added the summary. Reply: @Derr, Michael @Maharaj, Rajat Michael: Please note that Raj has added a VFA Summary for us. Reply: Thank you @O'Hagin, Harry and @Maharaj, Rajat

## Action Sample Records
Action - Action Name | Action - Adjustment Factor | Action - Annual Savings - Energy | Action - Annual Savings - Water | Action - Annual Usage Savings - Energy | Action - Annual Usage Savings - Water | Action - Building Name | Action - Building Number | Action - Comments | Action - County Name | Action - Create Date | Action - Created By | Action - Currency | Action - Description | Action - Electricity Savings (KWH) | Action - Energy Cost Savings | Action - Energy Usage Unit | Action - Estimated Cost | Action - Estimator | Action - Files | Action - Final Rank | Action - Green Action | Action - ID | Action - Incremental Payback (in Years) | Action - JCC Managed? | Action - Leased Facility? | Action - Linked System | Action - Modified By | Action - Modified Date | Action - Natural Gas Savings (Therms) | Action - New Construction Vacancy? | Action - Origin | Action - Payback (in Years) | Action - Payback Priority | Action - Peak Demand Savings (KW) | Action - Potential Incentive | Action - Prime | Action - Prime Green Category | Action - Region Name | Action - Requirement Name | Action - Security Rating | Action - Simple Payback | Action - Simple Payback with Incentive | Action - Top 35 Usage? | Action - Total Annual Savings | Action - Type | Action - Type of Savings | Action - Water Usage Unit | Headers | Records
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 105422 | System Renewal | 0 |  | FALSE | ACT-123453 |  |  |  | #NAME? | system | 2019-08-16 21:55 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal | 48 | 78657
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 6868 | System Renewal | 0 |  | FALSE | ACT-123445 |  |  |  | #NAME? | system | 2019-08-16 21:53 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 121339 | System Renewal | 0 |  | FALSE | ACT-123449 |  |  |  | #NAME? | system | 2019-08-16 21:54 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 65820 | System Renewal | 0 |  | FALSE | ACT-123447 |  |  |  | #NAME? | system | 2019-08-16 21:54 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 34630 | System Renewal | 0 |  | FALSE | ACT-123413 |  |  |  | #NAME? | system | 2019-08-16 21:32 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 67131 | System Renewal | 0 |  | FALSE | ACT-123452 |  |  |  | #NAME? | system | 2019-08-16 21:55 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 96506 | System Renewal | 0 |  | FALSE | ACT-123457 |  |  |  | #NAME? | system | 2019-08-16 21:53 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 81500 | System Renewal | 0 |  | FALSE | ACT-123448 |  |  |  | #NAME? | system | 2019-08-16 21:56 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 52886 | System Renewal | 0 |  | FALSE | ACT-123424 |  |  |  | #NAME? | system | 2019-08-16 21:34 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 36627 | System Renewal | 0 |  | FALSE | ACT-123423 |  |  |  | #NAME? | system | 2019-08-16 21:49 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 35258 | System Renewal | 0 |  | FALSE | ACT-123440 |  |  |  | #NAME? | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 3486 | System Renewal | 0 |  | FALSE | ACT-123404 |  |  |  | #NAME? | system | 2019-08-16 21:34 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
#NAME? | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:20 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 352800 | System Renewal | 0 |  | FALSE | ACT-123458 |  |  |  | #NAME? | system | 2019-08-16 21:54 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | #NAME? | [5 empty] | Replacement |  | gal
Air Compressor Renewal | 1 |  |  |  |  | Napa Historic Courthouse | 28-B1 |  | Napa | 2019-08-16 10:49 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-116012 |  |  |  | Air Compressor | system | 2019-08-16 21:39 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | Air Compressor Renewal | [5 empty] | Replacement |  | gal
Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance Renewal | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-123437 |  |  |  | Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance Renewal | [5 empty] | Replacement |  | gal
Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance Renewal | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-123441 |  |  |  | Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance Renewal | [5 empty] | Replacement |  | gal
Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance Renewal | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-123438 |  |  |  | Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | Cabinet, Base & Wall Section, Wood w/Plastic Laminate Countertop, Allowance Renewal | [5 empty] | Replacement |  | gal
Carpet Renewal | 1 |  |  |  |  | Joshua Tree Modular | 36-E2 |  | San Bernardino | 2019-08-16 19:28 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-140234 |  |  |  | Carpet | system | 2019-08-16 21:55 |  |  | VFA.facility |  |  |  |  | TRUE |  | SRO | Carpet Renewal | [5 empty] | Replacement |  | gal
Comm Vault Cover - Replace 18" Raised Vault in common area - tripping hazard for court patrons | 1 |  |  |  |  | Z-Santa Maria Courts Building E | Z-42-F2 |  | Retired Buildings | 2011-12-20 13:43 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-40917 | [8 empty] | VFA.facility |  |  |  |  | TRUE |  | Z - Retired Buildings | Comm Vault Cover - Replace 18" Raised Vault in common area - tripping hazard for court patrons | [7 empty] | gal
Countertop, Plastic Laminate, Allowance Renewal | 1 |  |  |  |  | Bray Courts | 07-A3 |  | Contra Costa | 2019-08-16 13:19 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-123439 |  |  |  | Countertop, Plastic Laminate, Allowance | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | BANCRO | Countertop, Plastic Laminate, Allowance Renewal | [5 empty] | Replacement |  | gal
Drinking Fountain Renewal | 1 |  |  |  |  | Madera Main Courthouse | 20-F1 |  | Madera | 2019-08-16 18:31 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-137960 |  |  |  | Drinking Fountain | system | 2019-08-16 21:37 |  |  | VFA.facility |  |  |  |  | TRUE |  | NCRO | Drinking Fountain Renewal | [5 empty] | Replacement |  | gal
Elevator - Replace cables - Safety Compliance | 1 |  |  |  |  | Clara Shortridge Foltz Criminal Justice Center | 19-L1 |  | Los Angeles | 2019-07-19 07:14 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-102616 |  |  |  |  | user | 2019-07-19 07:14 |  |  | VFA.facility |  |  |  |  | TRUE |  | _SRO Archive July 2019 | Elevator - Replace cables - Judges' Elevator #17 Safety Compliance | [7 empty] | gal
Exhaust Fan, Bathroom Vent Renewal | 1 |  |  |  |  | Joshua Tree Modular | 36-E2 |  | San Bernardino | 2019-08-16 19:27 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-140210 |  |  |  | Exhaust Fan, Bathroom Vent | user | 2019-08-16 21:42 |  |  | VFA.facility |  |  |  |  | TRUE |  | SRO | Exhaust Fan, Bathroom Vent Renewal | [5 empty] | Replacement |  | gal
Exit Sign - Parking Structure Renewal | 1 |  |  |  |  | Madera Main Courthouse | 20-F1 |  | Madera | 2019-08-16 18:31 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-137968 |  |  |  | Exit Sign - Parking Structure | user | 2019-08-16 21:49 |  |  | VFA.facility |  |  |  |  | TRUE |  | NCRO | Exit Sign - Parking Structure Renewal | [5 empty] | Replacement |  | gal
Exterior -Paint and patch trash enclosure exterior stucco - Enclosure is degrading and in need of patch & painting | 1 |  |  |  |  | Santa Maria Courts Bldgs C + D | 42-F1 |  | Santa Barbara | 2019-07-19 07:14 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-103419 |  |  |  |  | user | 2019-07-19 07:14 |  |  | VFA.facility |  |  |  |  | TRUE |  | _SRO Archive July 2019 | Exterior -Paint and patch trash enclosure exterior stucco - Enclosure is degrading and in need of patch & painting | [7 empty] | gal
Fire Alarm Control Panel Renewal | 1 |  |  |  |  | Joshua Tree Modular | 36-E2 |  | San Bernardino | 2019-08-16 19:27 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-140211 |  |  |  | Fire Alarm Control Panel | system | 2019-08-16 21:49 |  |  | VFA.facility |  |  |  |  | TRUE |  | SRO | Fire Alarm Control Panel Renewal | [5 empty] | Replacement |  | gal
Fixed Bench Seating Renewal | 1 |  |  |  |  | Joshua Tree Modular | 36-E2 |  | San Bernardino | 2019-08-16 19:28 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-140225 |  |  |  | Fixed Bench Seating | system | 2019-08-16 21:50 |  |  | VFA.facility |  |  |  |  | TRUE |  | SRO | Fixed Bench Seating Renewal | [5 empty] | Replacement |  | gal
Fixed Casework Renewal | 1 |  |  |  |  | Butte County Courthouse | 04-A1 |  | Butte | 2019-08-16 12:43 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-121590 |  |  |  | Fixed Casework | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | NCRO | Fixed Casework Renewal | [5 empty] | Replacement |  | gal
Fixed Casework Renewal | 1 |  |  |  |  | Joshua Tree Modular | 36-E2 |  | San Bernardino | 2019-08-16 19:28 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-140230 |  |  |  | Fixed Casework | system | 2019-08-16 21:51 |  |  | VFA.facility |  |  |  |  | TRUE |  | SRO | Fixed Casework Renewal | [5 empty] | Replacement |  | gal
HVAC - Replace sump pumps with new pumps (before basement floods from bad pumps) | 1 |  |  |  |  | Main Courthouse | 45-A1 |  | Shasta | 2011-03-24 15:02 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-33639 | [8 empty] | VFA.facility |  |  |  |  | TRUE |  | NCRO | HVAC - Replace sump pumps with new pumps (before basement floods from bad pumps) | [7 empty] | gal
HVAC - Replace sump pumps with new pumps (before basement floods from bad pumps) | 1 |  |  |  |  | Main Courthouse | 45-A1 |  | Shasta | 2019-07-19 06:58 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-88013 |  |  |  |  | user | 2019-07-19 06:58 |  |  | VFA.facility |  |  |  |  | TRUE |  | _NCRO Archive July 2019 | HVAC - Replace sump pumps with new pumps (before basement floods from bad pumps) | [7 empty] | gal
Heat Pump 1 Renewal | 1 |  |  |  |  | Mariposa Courthouse | 22-A1 |  | Mariposa | 2019-08-16 19:09 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-139244 |  |  |  | Heat Pump 1 | user | 2019-08-16 21:59 |  |  | VFA.facility |  |  |  |  | TRUE |  | NCRO | Heat Pump 1 Renewal | [5 empty] | Replacement |  | gal
Heat Pump 6 Renewal | 1 |  |  |  |  | Mariposa Courthouse | 22-A1 |  | Mariposa | 2019-08-16 19:08 | system | USD | Estimated Cost= (System.Replacement Cost * System.Percent Renew)/100 |  |  | kBtu | 2500 | System Renewal | 0 |  | FALSE | ACT-139226 |  |  |  | Heat Pump 6 | user | 2019-08-16 21:59 |  |  | VFA.facility |  |  |  |  | TRUE |  | NCRO | Heat Pump 6 Renewal | [5 empty] | Replacement |  | gal
Interior - A new judge is moving in and the closet in the chamber dept #55 needs new paint - Walls are really dirty and there is no light and its too dark to see inside, Need to run new wire and install light and light switch | 1 |  |  |  |  | Santa Clara Courthouse | 43-G1 |  | Santa Clara | 2019-07-18 15:35 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-73461 |  |  |  |  | user | 2019-07-18 15:36 |  |  | VFA.facility |  |  |  |  | TRUE |  | _BANCRO Archive July 2019 | Interior - A new judge is moving in and the closet in the chamber dept #55 needs new paint - Walls are really dirty and there is no light and its too dark to see inside, Need to run new wire and install light and light switch | [7 empty] | gal
Interior -Replace window pass in room 112 forms window - Existing pass opening can't be closed, Safety issue | 1 |  |  |  |  | Stanley Mosk Courthouse | 19-K1 |  | Los Angeles | 2019-07-19 07:14 | user | USD |  |  |  | kBtu | 2500 |  | 0 |  | FALSE | ACT-102986 |  |  |  |  | user | 2019-07-19 07:14 |  |  | VFA.facility |  |  |  |  | TRUE |  | _SRO Archive July 2019 | Interior -Replace window pass in room 112 forms window - Existing pass opening can't be closed, Safety issue | [7 empty] | gal

## Assembly Sample Records
Assembly - Assembly Name | Assembly - Comments | Assembly - Create Date | Assembly - Created By | Assembly - Currency | Assembly - Description | Assembly - Files | Assembly - ID | Assembly - Modified By | Assembly - Modified Date | Assembly - Photo | Assembly - Type
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0
[6 empty] | 0 |  |  |  | 0

## Building Sample Records
Building - # of Courtrooms | Building - 1% CRV Applied Funding | Building - 1% CRV Ending FCI | Building - Address 1 | Building - Address 2 | Building - Architect | Building - Archived | Building - Assessment Cycle | Building - Assessment Type | Building - Asset Condition Rating | Building - Asset Model | Building - Athletic Field Use | Building - Baseline EUI | Building - Baseline Span - Energy (in Years)' | Building - Baseline Span - Water (in Years) | Building - Baseline Start Month - Energy | Building - Baseline Start Month - Water | Building - Baseline Usage - Energy | Building - Baseline Usage - Water | Building - Baseline WUI | Building - Baseline Year - Energy | Building - Baseline Year - Water | Building - Bridge Structure Material | Building - Building Name | Building - CAD | Building - CCTV Inspection Date | Building - Cell Phone | Building - Change EUI | Building - Change EUI Percent | Building - Change WUI | Building - Change WUI Percent | Building - City | Building - Comments | Building - Commission Date | Building - Construction Type | Building - Cooling Capacity | Building - Cooling Capacity Units | Building - Cost Source | Building - Cost Source Location | Building - Country | Building - County Name | Building - Court Staff (FTE's) | Building - Create Date | Building - Created By | Building - Curb / Edging Material | Building - Curb Type | Building - Currency | Building - Current EUI | Building - Current Period - Energy | Building - Current Period - Water | Building - Current Usage - Energy | Building - Current Usage - Water | Building - Current WUI | Building - Date of Most Recent Assessment | Building - Decommission Date | Building - Depth | Building - Depth Units | Building - Description | Building - Design Code Year | Building - Diameter | Building - Diameter Units | Building - Domestic Water Material Type | Building - Energy Usage Unit | Building - EUI Unit | Building - Exclusive Court Space (SF) | Building - Exterior Finish | Building - Exterior Steps Material | Building - FCI | Building - FCI and SCI definitions | Building - Files | Building - Fire Protection Material Type | Building - Floors | Building - FMU Area # | Building - FMU Regional Contact | Building - Funding Needs statement | Building - Ground Cover Type | Building - Has Utility Usage | Building - Height | Building - Height Units | Building - Historical Category | Building - ID | Building - Insulation Material | Building - Irrigation Material Type | Building - JC | Building - JCC provided GSF | Building - Judicial Officers | Building - Lat/Lon | Building - Length | Building - Length Units | Building - Lighting Construction Type | Building - Lighting Use | Building - Location Info | Building - Maintain FCI | Building - Maintain FCI Applied Funding | Building - Managing Party | Building - Manhole Housing Material | Building - Map Latitude | Building - Map Longitude | Building - Marking Material | Building - Model | Building - Modified By | Building - Modified Date | Building - Natural Gas Material Type | Building - Number | Building - Operations Cost Location | Building - Original Assessment (JCC) | Building - Other Coordinates | Building - Ownership | Building - Parking Lot Spaces | Building - Parking Lot Use | Building - Pedestrian Paving Use | Building - Photo | Building - Pressure Rating | Building - Pressure Rating Units | Building - Primary Photo Id | Building - Primary Use | Building - Rail / Barrier Material | Building - Region | Building - Region Name | Building - Replacement Value | Building - Replacement Value (USD) | Building - Responsible SF (JCC) | Building - RI | Building - Roadway Use | Building - Roof Type | Building - Sanitary Sewer Material Type | Building - Service Level | Building - Signage Material | Building - Site Structure Type | Building - Size | Building - Softscape Use | Building - Spatial Data | Building - State | Building - Steam Use | Building - Storm Drain Material Type | Building - Surface Type | Building - Sustainment and Operations Costs | Building - Tank Material | Building - Target FCI | Building - Target FCI Applied Funding | Building - temp | Building - Type | Building - Use | Building - Utility Delivery Type | Building - Water Piping Material | Building - Water Usage Unit | Building - Width | Building - Width Units | Building - WUI Unit | Building - Year Constructed | Building - Year Renovated | Building - ZIP
0 | 0 |  | 111 W. St. John #100 & 102 |  |  | FALSE | [16 empty] | Superior Court Administration | 0 | [6 empty] | San Jose | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_SAN JOSE | UNITED STATES OF AMERICA | Santa Clara | 119 | 2019-07-18 15:34 | RDUFRESNE |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 1950 |  |  | 0 |  | 0 |  | 1 | 33 | user |  |  | FALSE |  |  | No | AST-1042 |  |  | 0 |  | 0 | 37.339,-121.8929 | [6 empty] | 0 | Landlord |  | 37.3389 | -121.8927 |  |  | user | 2019-07-18 15:40 |  | 43-B4 | San Jose |  |  | Leased |  |  |  | 0 |  |  |  | Superior Courts |  |  | _BANCRO Archive July 2019 | 0 | 0 | 1950 | 0 |  |  |  | c. 16% to 30% - Managed Care |  |  | 12527 |  |  | CA | [6 empty] | 0 |  | Building | Courthouse / Superior |  |  | gal |  |  | gal/SF/Yr | 1984 |  | 95113
0 |  |  | 42011 W. 4th St |  |  | FALSE | [16 empty] | PKG Lot Antelope Valley Court Staff Parking | 0 |  | 123-456-7890 |  |  |  |  | Lancaster | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-79 |  |  | 0 |  | 0 | 34.6459982,-118.136596 | [7 empty] | County | [5 empty] | user | 2010-04-02 12:33 |  | 19-new-dup |  |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 93536
0 |  |  | 42011 W. 4th St |  |  | FALSE | [16 empty] | PKG Lot Antelope Valley Court Public Parking | 0 |  | 123-456-7890 |  |  |  |  | Lancaster | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-78 |  |  | 0 |  | 0 | 34.6459982,-118.136596 | [7 empty] | County | [5 empty] | user | 2010-04-02 12:32 |  | 19-new-dup |  |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 93536
0 |  |  | 9425 Penfield Avenue |  |  | FALSE | [16 empty] | Parking Lot-Chatsworth Courthouse | 0 |  | 123-456-7890 |  |  |  |  | Chatsworth | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-77 |  |  | 0 |  | 0 | 34.240683,-118.5696413 | [7 empty] | County | [5 empty] | user | 2010-04-02 12:30 |  | 19-new-dup |  |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 91311
0 |  |  | 301 West Maple Avenue |  |  | FALSE | [16 empty] | Parking Lot-Monrovia Courthouse- | 0 |  | 123-456-7890 |  |  |  |  | Monrovia | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-74 |  |  | 0 |  | 0 | 34.141775,-118.005592 | [7 empty] | County | [5 empty] | user | 2010-04-02 12:31 |  | 19-N1-dup |  |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 91016
0 | 0 |  | 210 W. Temple Street |  |  | FALSE | [16 empty] | Parking Lot 19 | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-69 |  |  | 0 |  | 0 | 34.055041865,-118.24267633 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-L3 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 | 0 |  | 211 W. Temple St |  |  | FALSE | [16 empty] | Parking Lot 12 | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-68 |  |  | 0 |  | 0 | 34.055759,-118.242841 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-L2 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 | 0 |  | 227 N. Spring St |  |  | FALSE | [16 empty] | Parking Lot 11 | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 1 | 22 | user |  |  | FALSE |  |  |  | AST-67 |  |  | 0 |  | 0 | 34.054251,-118.2432496 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-L4 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 1 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 | 0 |  | 100 E. Bay State St. |  |  | FALSE | [16 empty] | Parking Alhambra Courthouse | 0 |  | 123-456-7890 |  |  |  |  | Alhambra | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_ALHAMBRA | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 19999 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-576 |  |  | 0 |  | 0 | 34.093159,-118.123928 | [6 empty] | 0 | County |  | 34.0936 | -118.1244 |  |  | user | 2016-05-18 18:55 |  | Z-19-I3 | Los Angeles |  |  | County Owned |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 19999 | 0 |  |  |  | c. 16% to 30% - Managed Care |  |  | 19999 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 91801
0 | 0 |  | One E. Regent Street |  |  | FALSE | [16 empty] | Parking Garage-Inglewood Courthouse West | 0 |  | 123-456-7890 |  |  |  |  | Inglewood | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_INGLEWOOD | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 19999 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-568 |  |  | 0 |  | 0 | 33.9644222,-118.355172 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-E3 | Los Angeles |  |  | Not Transferred |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 19999 | 0 | [6 empty] | 19999 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90301
0 | 0 |  | One E. Regent Street |  |  | FALSE | [16 empty] | Parking Garage-Inglewood Courthouse East | 0 |  | 123-456-7890 |  |  |  |  | Inglewood | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_INGLEWOOD | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 19999 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-567 |  |  | 0 |  | 0 | 33.9644222,-118.355172 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-E2 | Los Angeles |  |  | Not Transferred |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 19999 | 0 | [6 empty] | 19999 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90301
0 |  |  | 825 Maple Avenue |  |  | FALSE | [16 empty] | Parking Lot-Torrance Courthouse | 0 |  | 123-456-7890 |  |  |  |  | Torrance | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-559 |  |  | 0 |  | 0 | 33.838788414,-118.340030012 | [7 empty] | County | [5 empty] | user | 2010-04-02 12:31 |  | 19-C1-dup |  |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 90503
0 | 0 |  | 111 Grand Ave |  |  | FALSE | [16 empty] | Walt Disney Concert Hall Walt Disney Concert Hall Parking Structure | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-542 |  |  | 0 |  | 0 | 34.0555645,-118.2488501 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-AV5 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 |  |  | 120 S. Olive St. |  |  | FALSE | [16 empty] | Parking Structure lot 26 | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-541 |  |  | 0 |  | 0 | 34.054248,-118.247528 | [7 empty] | County | [5 empty] | user | 2014-08-01 14:33 |  | 19-AV1-dup | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 90012
0 | 0 |  | 131 S. Olive St |  |  | FALSE | [16 empty] | Parking Structure lot 17 | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-540 |  |  | 0 |  | 0 | 34.054782,-118.24892 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-AV2 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 | 0 |  | 140 N. Grand Ave/201 N Hill St |  |  | FALSE | [16 empty] | Parking Garage Lot 18-County Mall Phase I | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-539 |  |  | 0 |  | 0 | 34.0564176,-118.2481658 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-AV6 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 | 0 |  | 120 S. Olive St. |  |  | FALSE | [16 empty] | Parking Booth lot 26 | 0 |  | 123-456-7890 |  |  |  |  | Los Angeles | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  |  | AST-538 |  |  | 0 |  | 0 | 34.054248,-118.247528 | [6 empty] | 0 | County | [5 empty] | user | 2014-08-01 14:32 |  | Z-19-AV4 | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [6 empty] | 0 |  | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 90012
0 |  |  | 23535 W. Civic Center Way |  |  | FALSE | [16 empty] | Parking Lot Malibu Administrative Center | 0 |  | 123-456-7890 |  |  |  |  | Malibu | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-532 |  |  | 0 |  | 0 | 34.036519627,-118.688052026 | [7 empty] | County | [5 empty] | user | 2010-04-02 12:30 |  | 19-AS1-dup |  |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 90265
0 | 0 |  | 815 Court St. |  |  | FALSE | [16 empty] | Archival Records - Post Office (UNASSESSED) | 0 | [6 empty] | Martinez | [5 empty] | RSMEANS2021 | RSMEANS2021:US_CA_OAKLAND | UNITED STATES OF AMERICA | Contra Costa | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 1 | 33 | user |  |  | FALSE |  |  | No | AST-512 |  |  | 0 |  | 0 | 38.0177,-122.1338 | [6 empty] | 0 | Landlord |  | 38.0176 | -122.1335 |  |  | user | 2020-12-04 19:54 |  | 07-A11 | Oakland |  |  | Leased |  |  |  | 0 |  |  |  | Superior Courts |  |  | BANCRO | 0 | 0 | 0 | 0 |  |  |  | c. 16% to 30% - Managed Care |  |  | 0 |  |  | CA | [6 empty] | 0 |  | Building | Courthouse / Superior |  |  | gal |  |  | gal/SF/Yr | 1900 |  | 94553
0 |  |  | 9355 Burton Way |  |  | FALSE | [16 empty] | Parking Garage Lot 57 Beverly Hills Courthouse | 0 |  | 123-456-7890 |  |  |  |  | Beverly Hills | [5 empty] | RSMEANS2021 |  |  | Retired Buildings | 0 | 2007-01-25 11:02 |  |  |  | USD | [15 empty] | kBtu | kBtu/SF/Yr | 0 |  |  | 0 |  | 0 |  | 0 | 22 | user |  |  | FALSE |  |  | No | AST-497 |  |  | 0 |  | 0 | 34.072394289,-118.398169782 | [7 empty] | County | [5 empty] | user | 2014-08-01 14:33 |  | 19-AQ1-dup | Los Angeles |  |  | Inactive |  |  |  | 0 |  |  |  | Parking Structures/Lots |  |  | Z - Retired Buildings | 0 | 0 | 0 | 0 | [6 empty] | 0 |  |  | CA | [8 empty] | Building | Parking Structure |  |  | gal |  |  | gal/SF/Yr |  |  | 90210

## County Sample Records
County - Archived | County - Cell Phone | County - City | County - Code | County - Comments | County - Cost Source | County - Cost Source Location | County - Country | County - County FCI | County - County Name | County - Court Staff (FTE) | County - Create Date | County - Created By | County - Currency | County - Description | County - District Supervisor | County - Files | County - FMU District # | County - ID | County - Judicial Officers | County - Lat/Lon | County - Modified By | County - Modified Date | County - Number Of Assets | County - Region Name | County - RSMeans Resource Type | County - State | County - Total Replacement Value | County - Zipcode | County - Zoom
FALSE |  | Riverside | 33 |  | RSMEANS2021 | RSMEANS2021:US_CA_RIVERSIDE | UNITED STATES OF AMERICA | 0.11 | Riverside | 926 | 2006-03-15 12:33 | user | USD |  |  | 1 | 20 | CAM-169 | 70 | 33.75285, -116.05555 | system | 2016-08-09 11:09 | 20 | SRO | Repair | CA | 100 | 92501 | 9
FALSE |  | San Bernardino | 36 |  | RSMEANS2021 | RSMEANS2021:US_CA_SAN BERNARDINO | UNITED STATES OF AMERICA | 0.11 | San Bernardino | 936 | 2006-03-15 12:34 | user | USD |  |  | 0 | 20 | CAM-170 | 75 | 34.840069, -115.966751 | system | 2016-08-09 11:09 | 22 | SRO | Repair | CA | 100 | 92401 | 8
FALSE |  | Santa Barbara | 42 |  | RSMEANS2021 | RSMEANS2021:US_CA_SANTA BARBARA | UNITED STATES OF AMERICA | 0.11 | Santa Barbara |  | 2006-03-15 12:34 | user | USD |  |  | 0 | 21 | CAM-171 |  | 34.743698, -120.056183 | RDAIT | 2016-12-28 12:04 | 15 | SRO | Repair | CA | 100 | 93101 | 9
FALSE |  | San Diego | 37 |  | RSMEANS2021 | RSMEANS2021:US_CA_SAN DIEGO | UNITED STATES OF AMERICA | 0.11 | San Diego | 1663 | 2006-05-01 07:10 | user | USD |  |  | 0 | 20 | CAM-172 | 154 | 33.01984, -116.8386 | system | 2016-08-09 11:09 | 20 | SRO | Repair | CA | 100 | 92101 | 9
FALSE |  | Los Angeles | 19 |  | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | 0.11 | Los Angeles | 5700 | 2006-05-01 07:14 | user | USD |  |  | 0 | 22 | CAM-173 | 583 | 34.263969, -118.29554 | SJOHNSON | 2017-12-20 17:53 | 72 | SRO | Repair | CA | 100 | 90013 | 9
FALSE |  | Bakersfield | 15 |  | RSMEANS2021 | RSMEANS2021:US_CA_ALHAMBRA | UNITED STATES OF AMERICA | 0.11 | Kern |  | 2007-01-30 16:05 | user | USD |  |  | 0 | 21 | CAM-174 |  | 35.293369, -118.905182 | RDAIT | 2016-12-28 12:23 | 18 | SRO | Repair | CA | 100 | 93301 | 9
FALSE |  | Santa Ana | 30 |  | RSMEANS2021 | RSMEANS2021:US_CA_LOS ANGELES | UNITED STATES OF AMERICA | 0.11 | Orange | 1677 | 2007-01-25 10:02 | user | USD |  |  | 0 | 20 | CAM-175 | 143 | 33.66666, -117.765121 | system | 2016-08-09 11:09 | 11 | SRO | Repair | CA | 100 | 92701 | 9
FALSE |  | Ventura | 56 |  | RSMEANS2021 | RSMEANS2021:US_CA_OXNARD | UNITED STATES OF AMERICA | 0.11 | Ventura |  | 2007-01-25 10:02 | user | USD |  |  | 0 | 21 | CAM-176 |  | 34.473202, -119.055252 | RDAIT | 2016-12-28 12:04 | 4 | SRO | Repair | CA | 100 | 93006 | 9
FALSE |  | El Centro | 13 |  | RSMEANS2021 | RSMEANS2021:US_CA_RIVERSIDE | UNITED STATES OF AMERICA | 0.11 | Imperial | 111 | 2007-01-25 10:02 | user | USD |  |  | 0 | 20 | CAM-177 | 12 | 33.026161, -115.284538 | system | 2016-08-09 11:09 | 4 | SRO | Repair | CA | 100 | 92243 | 9
FALSE |  | San Luis Obispo | 40 |  | RSMEANS2021 | RSMEANS2021:US_CA_SAN LUIS OBISPO | UNITED STATES OF AMERICA | 0.11 | San Luis Obispo |  | 2007-01-25 10:02 | user | USD |  |  | 0 | 21 | CAM-178 |  | 35.34634, -120.40992 | RDAIT | 2016-12-28 12:23 | 7 | SRO | Repair | CA | 100 | 93408 | 9
FALSE |  | Martinez | 7 |  | RSMEANS2021 | RSMEANS2021:US_CA_OAKLAND | UNITED STATES OF AMERICA | 0.11 | Contra Costa | 392 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-76 | 45 | 37.91148, -121.981956 |  |  | 15 | _BANCRO Archive July 2019 | Repair | CA | 100 | 94553 | 9
FALSE |  | Fairfield | 48 |  | RSMEANS2021 | RSMEANS2021:US_CA_VALLEJO | UNITED STATES OF AMERICA | 0.11 | Solano | 240 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-77 | 22 | 38.28611, -121.999748 |  |  | 5 | _BANCRO Archive July 2019 | Repair | CA | 100 | 94533 | 9
FALSE |  | San Francisco | 38 |  | RSMEANS2021 | RSMEANS2021:US_CA_SAN FRANCISCO | UNITED STATES OF AMERICA | 0.11 | San Francisco | 562 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-78 | 65 | 37.759861, -122.43573 |  |  | 5 | _BANCRO Archive July 2019 | Repair | CA | 100 | 94102 | 11
FALSE |  | Lakeport | 17 |  | RSMEANS2021 | RSMEANS2021:US_CA_SANTA ROSA | UNITED STATES OF AMERICA | 0.11 | Lake | 39 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-79 | 4 | 39.124409, -122.717049 |  |  | 4 | _BANCRO Archive July 2019 | Repair | CA | 100 | 95453 | 9
FALSE |  | Napa | 28 |  | RSMEANS2021 | RSMEANS2021:US_CA_VALLEJO | UNITED STATES OF AMERICA | 0.11 | Napa | 89 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-80 | 8 | 38.509579, -122.354088 |  |  | 3 | _BANCRO Archive July 2019 | Repair | CA | 100 | 94559 | 9
FALSE |  | San Rafael | 21 |  | RSMEANS2021 | RSMEANS2021:US_CA_SAN RAFAEL | UNITED STATES OF AMERICA | 0.11 | Marin | 166 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-81 | 14 | 38.068169, -122.731171 |  |  | 3 | _BANCRO Archive July 2019 | Repair | CA | 100 | 94913 | 9
FALSE |  | Santa Rosa | 49 |  | RSMEANS2021 | RSMEANS2021:US_CA_SANTA ROSA | UNITED STATES OF AMERICA | 0.11 | Sonoma | 210 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-82 | 21 | 38.481838, -122.941559 |  |  | 8 | _BANCRO Archive July 2019 | Repair | CA | 100 | 95403 | 9
FALSE |  | Oakland | 1 |  | RSMEANS2021 | RSMEANS2021:US_CA_BERKELEY | UNITED STATES OF AMERICA | 0.11 | Alameda | 891 | 2019-07-18 15:34 | user | USD |  |  | 0 | 33 | CAM-83 | 85 | 37.679901, -121.905853 |  |  | 15 | _BANCRO Archive July 2019 | Repair | CA | 100 | 94612 | 9
FALSE |  | Eureka | 12 |  | RSMEANS2021 | RSMEANS2021:US_CA_EUREKA | UNITED STATES OF AMERICA | 0.11 | Humboldt | 89 | 2019-07-18 15:34 | user | USD |  |  | 0 | 32 | CAM-84 | 8 | 40.733582, -123.907822 |  |  | 4 | _BANCRO Archive July 2019 | Repair | CA | 100 | 95501 | 9
FALSE |  | Salinas | 27 |  | RSMEANS2021 | RSMEANS2021:US_CA_SANTA CRUZ | UNITED STATES OF AMERICA | 0.11 | Monterey | 213 | 2019-07-18 15:34 | user | USD |  |  | 0 | 33 | CAM-85 | 19 | 36.354351, -121.09642 |  |  | 7 | _BANCRO Archive July 2019 | Repair | CA | 100 | 93901 | 9

## Line Item Sample Records
Line Items - Class | Line Items - Code | Line Items - Create Date | Line Items - Created By | Line Items - Description | Line Items - Extended Cost | Line Items - ID | Line Items - Modified By | Line Items - Modified Date | Line Items - Quantity | Line Items - Unit | Line Items - Unit Cost
A | D40203100560 | 2009-04-13 17:49 | user | Wet standpipe risers, class I, steel, black, sch 40, 4" diam pipe, 1 floor | 2000 | 40692166 |  |  | 10 | Floor | 200
A | D40203100600 | 2009-04-13 17:49 | user | Wet standpipe risers, class I, steel, black, sch 40, 6" diam pipe, 1 floor | 2000 | 40692167 |  |  | 10 | Floor | 200
A | D40203100580 | 2009-04-13 17:49 | user | Wet standpipe risers, class I, steel, black, sch 40, 4" diam pipe, additional floors | 2000 | 40692168 |  |  | 10 | Floor | 200
A | D40104100640 | 2009-04-13 17:41 | user | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 50,000 SF | 2000 | 40692127 |  |  | 10 | S.F. | 200
A | G30101102150 | 2009-03-25 16:30 | user | Water distribution piping, ductile iron class 250, mechanical joint, 6" diameter, excludes excavation and backfill | 2000 | 40491176 |  | 2009-03-25 16:30 | 10 | L.F. | 200
A | D40204107250 | 2009-03-25 16:30 | user | Siamese, with plugs & chains, wall type, flush, 6" x 2-1/2" x 2-1/2" | 2000 | 40491175 |  | 2009-03-25 16:30 | 10 | Ea. | 200
A | D40104100600 | 2009-03-25 16:30 | user | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 5000 SF | 2000 | 40491173 |  | 2009-03-25 16:30 | 10 | S.F. | 200
A | D40104100620 | 2009-03-25 16:30 | user | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 10,000 SF | 2000 | 40491174 |  | 2009-03-25 16:30 | 10 | S.F. | 200
A | D30401281070 | 2009-04-24 12:00 | user | Fan coil A/C system, horizontal with cabinet, controls, 4 pipe, 4 ton | 2000 | 40866141 | user | 2009-04-24 12:00 | 10 | Ea. | 200
A | D50201452000 | 2009-04-24 12:00 | user | Motor installation, three phase, 460 V, 5 HP motor size | 2000 | 40866142 | user | 2009-04-24 12:00 | 10 | Ea. | 200
A | D50102301240 | 2009-03-25 15:54 | user | Branch installation 600 V, including EMT conduit and THW wire, 20 A | 2000 | 40489142 |  | 2009-03-25 15:54 | 10 | L.F. | 200
A | D40104101080 | 2009-03-25 15:54 | user | Wet pipe sprinkler systems, steel, ordinary hazard, 1 floor, 10,000 SF | 2000 | 40489287 |  | 2009-03-25 15:54 | 10 | S.F. | 200
A | D40104101220 | 2009-03-25 15:54 | user | Wet pipe sprinkler systems, steel, ordinary hazard, each additional floor, 10,000 SF | 2000 | 40489288 |  | 2009-03-25 15:54 | 10 | S.F. | 200
A | D50102301240 | 2009-03-26 11:04 | user | Branch installation 600 V, including EMT conduit and THW wire, 20 A | 2000 | 40499837 |  | 2009-03-26 11:04 | 10 | L.F. | 200
A | D50102301280 | 2009-03-26 11:04 | user | Branch installation 600 V, including EMT conduit and THW wire, 30 A | 2000 | 40499846 |  | 2009-03-26 11:04 | 10 | L.F. | 200
A | D50201200520 | 2009-03-26 11:04 | user | Receptacles and wall switches, 400 SF, 4 receptacles | 2000 | 40499860 |  | 2009-03-26 11:04 | 10 | S.F. | 200
A | D50102301240 | 2009-03-26 11:04 | user | Branch installation 600 V, including EMT conduit and THW wire, 20 A | 2000 | 40499859 |  | 2009-03-26 11:04 | 10 | L.F. | 200
A | D50102301240 | 2009-03-26 11:04 | user | Branch installation 600 V, including EMT conduit and THW wire, 20 A | 2000 | 40499863 |  | 2009-03-26 11:04 | 10 | L.F. | 200
A | D50102301240 | 2009-05-27 13:52 | user | Branch installation 600 V, including EMT conduit and THW wire, 20 A | 2000 | 41288303 |  |  | 10 | L.F. | 200
A | D50102300320 | 2009-03-26 11:04 | user | Feeder installation 600 V, including RGS conduit and XHHW wire, 400 A | 2000 | 40499879 |  | 2009-03-26 11:04 | 10 | L.F. | 200

## Region Sample Records
Region - Archived | Region - Cell Phone | Region - Comments | Region - Contact | Region - County Count | Region - Create Date | Region - Created By | Region - Currency | Region - Description | Region - EMail | Region - Files | Region - ID | Region - Manager | Region - Modified By | Region - Modified Date | Region - Phone | Region - Region Name
FALSE |  |  |  | 10 | 2006-03-15 12:32 | user | USD |  |  | 0 | REG-21 |  | RNESBITT | 2016-07-21 17:05 |  | SRO
FALSE |  |  |  | 18 | 2019-07-18 15:34 | user | USD |  |  | 0 | REG-17 |  | RDUFRESNE | 2019-07-19 07:35 |  | _BANCRO Archive July 2019
FALSE |  |  |  | 32 | 2019-07-19 06:56 | user | USD |  |  | 0 | REG-19 |  | RDUFRESNE | 2019-07-19 07:36 |  | _NCRO Archive July 2019
FALSE |  |  |  | 10 | 2019-07-19 07:08 | user | USD |  |  | 0 | REG-20 |  | RDUFRESNE | 2019-07-19 07:36 |  | _SRO Archive July 2019
FALSE |  |  |  | 18 | 2016-07-20 14:57 | user | USD |  |  | 0 | REG-10 |  | RNESBITT | 2016-07-21 17:05 |  | BANCRO
FALSE |  |  |  | 3 | 2005-05-23 11:22 | system | USD |  |  | 0 | REG-2 |  | RNESBITT | 2016-07-20 15:04 |  | X-Template
FALSE |  |  |  | 32 | 2006-03-15 12:32 | user | USD |  |  | 0 | REG-4 |  | RNESBITT | 2016-07-21 17:04 |  | NCRO
FALSE |  |  |  | 3 | 2009-12-09 22:35 | user | USD | This region is designed to relocate those facilities which have been retired in order to eliminate viewability within report and data sets. |  | 0 | REG-9 |  | RNESBITT | 2016-06-24 17:35 |  | Z - Retired Buildings

## Requirement Sample Records
Requirement - Action Date | Requirement - Action FY | Requirement - Action Year | Requirement - Actual Cost | Requirement - Actual Cost (USD) | Requirement - ADA % | Requirement - ADA Actual Cost $ | Requirement - Authorized Amount $ | Requirement - Authorized By | Requirement - Billing Address | Requirement - Budget Create Date | Requirement - Budget Year | Requirement - Building Name | Requirement - Building Number | Requirement - Cancellation Authorization | Requirement - Cancellation/Variance Reason | Requirement - Category | Requirement - Comments | Requirement - Coordination Committee | Requirement - Cost Benefit Verified | Requirement - Cost/Benefit | Requirement - County Name | Requirement - Create Date | Requirement - Created By | Requirement - Currency | Requirement - Current Estimate | Requirement - Description | Requirement - Design Status | Requirement - Equity Among Courts | Requirement - Estimated Cost | Requirement - Estimated Cost (USD) | Requirement - Feasibility | Requirement - Files | Requirement - Finish Date | Requirement - FM Priority | Requirement - FM Short Title | Requirement - FM Status | Requirement - FMU Tracking Number | Requirement - Fund Date | Requirement - Fund Responsibility | Requirement - Fund Status | Requirement - Green Action | Requirement - High Level Category | Requirement - ID | Requirement - Inspection Date | Requirement - Inspector | Requirement - JCC Cost Percentage (%) | Requirement - Justification and Effect (5-50) | Requirement - Lead Unit | Requirement - Less than $15k | Requirement - Linked System | Requirement - Locked | Requirement - Modified By | Requirement - Modified Date | Requirement - On Hold? | Requirement - Origin | Requirement - Original Asset ID | Requirement - Original Cost Estimate $ | Requirement - Override Action Date | Requirement - Photo | Requirement - Prime System | Requirement - Priority | Requirement - Project Manager | Requirement - Project Type | Requirement - Rank | Requirement - Region Name | Requirement - Reimbursable Reference Code | Requirement - Renewal | Requirement - Requirement ID | Requirement - Requirement Name | Requirement - Safety, Security Risk Management (5-25) | Requirement - Scenario Name | Requirement - Score | Requirement - Sent Date | Requirement - Sent Last Updated | Requirement - Sent To | Requirement - Service Provider | Requirement - Shared Cost Approval | Requirement - Status | Requirement - System Group | Requirement - SystemID | Requirement - TCFMAC | Requirement - TCFMAC Auth Cost $ | Requirement - Total Score Rank | Requirement - Uniformat Code | Requirement - Vandalism Work Type
1955-01-01 | 2025 | 2025 | 0 | 0 | [7 empty] | Old Court | 24-A1 |  |  | Beyond Useful Life |  |  |  |  | Previously Assessed | 2009-10-09 23:07 | system | USD |  | Auto generated renewal for Single Story Superstructure - High Cost. System Description: It was not possible to observe the building superstructure, based on age it will require repairs in the future. |  |  | 2222 | 2222 |  | 0 | [8 empty] | FALSE | Integrity | FM-0019477 | 1950-01-01 | System Renewal |  |  |  |  | B10 - Superstructure - Single Story Superstructure - High Cost | FALSE | system | 2009-10-09 23:07 |  | VFA.facility |  |  | 2025-01-01 | 0 | B10-Superstructure | FY5- Current FY +4 |  |  |  | X-Template |  | TRUE | 7006948 | Single Story Superstructure - High Cost Renewal | [8 empty] | Open | Structure | SYS-15354 |  |  |  | B10
1955-01-01 | 1990 | 1990 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Toilet Partitions - Average. System Description: [Restrooms are equipped with standard quality, ceiling-hung partitions.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Toilet Partitions - Average Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054392 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C1030 - Fittings - Toilet Partitions - Average | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1990-01-01 | 0 | C1030-Fittings | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732154 | Toilet Partitions - Average Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28634 |  |  | 11 | C1030 | No
1955-01-01 | 1980 | 1980 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for GWB Taped and Finished. System Description: [GWB ceiling system over 8-ft above floor taped, finished and painted with primer and 2 finish coats. Ceiling on suspension system or fastened to metal or wood furring.] |  | 11 | 0 | 0 |  | 0 |  | 5 | GWB Taped and Finished Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054391 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C3030 - Ceiling Finishes - GWB Taped and Finished | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1980-01-01 | 0 | C3030-Ceiling Finishes | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732153 | GWB Taped and Finished Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28633 |  |  | 11 | C3030 | No
1955-01-01 | 1980 | 1980 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Wood Windows. System Description: [The building includes wood framed exterior window units with insulating glass.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Wood Windows Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054390 | 1950-01-01 | System Renewal |  |  | SRO RM |  | B2020 - Exterior Windows - Wood Windows | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1980-01-01 | 0 | B2020-Exterior Windows | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732152 | Wood Windows Renewal | [8 empty] | Open | Exterior Enclosure | SYS-28632 |  |  | 11 | B2020 | No
1955-01-01 | 1975 | 1975 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Food Service Counter - High End. System Description: [Furnishings include deluxe quality food service tables, straight counters and curved counters.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Food Service Counter - High End Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054388 | 1950-01-01 | System Renewal |  |  | SRO RM |  | E - Equipment and Furnishings - Food Service Counter - High End | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1975-01-01 | 0 | E-Equipment and Furnishings | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732150 | Food Service Counter - High End Renewal | [8 empty] | Open | Equipment and Furnishings | SYS-28630 |  |  | 11 | E | No
1955-01-01 | 1975 | 1975 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Raised Wood Paneling - Economy. System Description: [Interior wall finishes include economy grade raised wood paneling.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Raised Wood Paneling - Economy Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054387 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C3010 - Wall Finishes - Raised Wood Paneling - Economy | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1975-01-01 | 0 | C3010-Wall Finishes | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732149 | Raised Wood Paneling - Economy Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28629 |  |  | 11 | C3010 | No
1955-01-01 | 1980 | 1980 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Distribution System - Medium Capacity. System Description: [Medium sized electrical distribution system. Distribution system includes medium concentration of panelboards, boxes, wires, receptacles and cover plates.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Distribution System - Medium Capacity Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054384 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D5010 - Electrical Service and Distribution - Distribution System - Medium Capacity | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1980-01-01 | 0 | D5010-Electrical Service and Distribution | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732146 | Distribution System - Medium Capacity Renewal | [8 empty] | Open | Electrical System | SYS-28626 |  |  | 11 | D5010 | No
1955-01-01 | 1965 | 1965 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for D5039 - LAN System - Average Density. System Description: [Building includes an average density local area network system.] |  | 11 | 0 | 0 |  | 0 |  | 5 | D5039 - LAN System - Average Density Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054382 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D5039 - Local Area Networks - D5039 - LAN System - Average Density | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1965-01-01 | 0 | D5039-Local Area Networks | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732144 | D5039 - LAN System - Average Density Renewal | [8 empty] | Open | Electrical System | SYS-28624 |  |  | 11 | D5039 | No
1955-01-01 | 2000 | 2000 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for GWB 2HR Rated Walls. System Description: [The building interior includes GWB, 2-hour rated partitions.] |  | 11 | 0 | 0 |  | 0 |  | 5 | GWB 2HR Rated Walls Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054356 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C1010 - Partitions - GWB 2HR Rated Walls | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 2000-01-01 | 0 | C1010-Partitions | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732118 | GWB 2HR Rated Walls Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28598 |  |  | 11 | C1010 | No
1955-01-01 | 2000 | 2000 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for GWB Walls - Standard (Non-Painted). System Description: [The building interior includes standard GWB partitions, taped and finished, but not painted, with no insulation.] |  | 11 | 0 | 0 |  | 0 |  | 5 | GWB Walls - Standard (Non-Painted) Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054355 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C1010 - Partitions - GWB Walls - Standard (Non-Painted) | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 2000-01-01 | 0 | C1010-Partitions | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732117 | GWB Walls - Standard (Non-Painted) Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28597 |  |  | 11 | C1010 | No
1955-01-01 | 2000 | 2000 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Plaster Walls - Thin Coat. System Description: [The building interior walls consist of a thin coat of plaster.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Plaster Walls - Thin Coat Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054354 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C1010 - Partitions - Plaster Walls - Thin Coat | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 2000-01-01 | 0 | C1010-Partitions | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732116 | Plaster Walls - Thin Coat Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28596 |  |  | 11 | C1010 | No
1955-01-01 | 1965 | 1965 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Folding Partitions - Economy. System Description: [The building interior includes economy folding partitions.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Folding Partitions - Economy Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054353 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C1010 - Partitions - Folding Partitions - Economy | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1965-01-01 | 0 | C1010-Partitions | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732115 | Folding Partitions - Economy Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28595 |  |  | 11 | C1010 | No
1955-01-01 | 1980 | 1980 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Switchgear - Average Duty. System Description: [The building includes average switchgear for 10 watts per square foot. The switchgear includes 400 amp, 208Y/120 volt capacity with breakers and instruments, and twenty feet of conduit and wire.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Switchgear - Average Duty Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054380 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D5010 - Electrical Service and Distribution - Switchgear - Average Duty | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1980-01-01 | 0 | D5010-Electrical Service and Distribution | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732142 | Switchgear - Average Duty Renewal | [8 empty] | Open | Electrical System | SYS-28622 |  |  | 11 | D5010 | No
1955-01-01 | 1970 | 1970 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for DDC System - Average. System Description: [HVAC controls include average DDC system for system optimization, basic pc control, moderate sensor types and quantities.] |  | 11 | 0 | 0 |  | 0 |  | 5 | DDC System - Average Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054378 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D3060 - Controls and Instrumentation - DDC System - Average | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1970-01-01 | 0 | D3060-Controls and Instrumentation | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732140 | DDC System - Average Renewal | [8 empty] | Open | HVAC System | SYS-28620 |  |  | 11 | D3060 | No
1955-01-01 | 1980 | 1980 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Feeder - Average Service. System Description: [The electric service has an average electrical service feeder size, 400A at 600V. Service feeder to include conduit and wire.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Feeder - Average Service Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054377 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D5010 - Electrical Service and Distribution - Feeder - Average Service | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1980-01-01 | 0 | D5010-Electrical Service and Distribution | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732139 | Feeder - Average Service Renewal | [8 empty] | Open | Electrical System | SYS-28619 |  |  | 11 | D5010 | No
1955-01-01 | 2000 | 2000 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Doors - Special. System Description: [Interior doors include acoustical doors to STC 45 (typical usually 1-3/4-in. thick, if thicker use max price). Price includes door frame and hardware. Also use for lead lined doors often found in dental and medical (where xrays are taken), and shock absorbing doors with flexible frames up to 5 x 7 and interior storefront up to 3 x 7.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Doors - Special Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054376 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C1020 - Interior Doors - Doors - Special | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 2000-01-01 | 0 | C1020-Interior Doors | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732138 | Doors - Special Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28618 |  |  | 11 | C1020 | No
1955-01-01 | 1970 | 1970 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Rooftop Unitary AC - Elec. Heat/Cooling > 10 Ton. System Description: [The HVAC system includes a packaged rooftop electric heating and cooling system with greater that 10 ton capacity. System includes ductwork.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Rooftop Unitary AC - Elec. Heat/Cooling > 10 Ton Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054374 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D3050 - Terminal and Package Units - Rooftop Unitary AC - Elec. Heat/Cooling > 10 Ton | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1970-01-01 | 0 | D3050-Terminal and Package Units | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732136 | Rooftop Unitary AC - Elec. Heat/Cooling > 10 Ton Renewal | [8 empty] | Open | HVAC System | SYS-28616 |  |  | 11 | D3050 | No
1955-01-01 | 1970 | 1970 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for ACT System - Standard. System Description: [Standard suspended ACT ceiling system with 2 x 2 or 2 x 4 regular tiles in 15/16 or 9/16-in. grids. Use add-ons as applicable.] |  | 11 | 0 | 0 |  | 0 |  | 5 | ACT System - Standard Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054372 | 1950-01-01 | System Renewal |  |  | SRO RM |  | C3030 - Ceiling Finishes - ACT System - Standard | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1970-01-01 | 0 | C3030-Ceiling Finishes | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732134 | ACT System - Standard Renewal | [8 empty] | Open | Interior Construction and Conveyance | SYS-28614 |  |  | 11 | C3030 | No
1955-01-01 | 1980 | 1980 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Kitchenette - Cabinet, Counter and Sink. System Description: [The plumbing fixtures include kitchenette cabinet, counter and sink units.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Kitchenette - Cabinet, Counter and Sink Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054343 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D2010 - Plumbing Fixtures - Kitchenette - Cabinet, Counter and Sink | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1980-01-01 | 0 | D2010-Plumbing Fixtures | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732095 | Kitchenette - Cabinet, Counter and Sink Renewal | [8 empty] | Open | Plumbing System | SYS-28585 |  |  | 11 | D2010 | No
1955-01-01 | 1960 | 1960 | 0 | 0 |  | 0 | [5 empty] | Pasadena Courthouse | 19-J1 |  |  | Beyond Useful Life |  |  |  |  | Los Angeles | 2015-01-05 17:31 | system | USD | 0 | Auto generated renewal for Clock System - Small Building. System Description: [Centralized, automatic clock system for a small sized building. Clock system includes head end equipment, single and double sided clocks, conduit, wire, electrician and helper time, and fittings.] |  | 11 | 0 | 0 |  | 0 |  | 5 | Clock System - Small Building Renewal | Unfunded |  |  |  | Unfunded | FALSE | Integrity | FM-0054365 | 1950-01-01 | System Renewal |  |  | SRO RM |  | D5036 - Clock and Program Systems - Clock System - Small Building | FALSE | user | 2019-08-15 16:06 | Scope | VFA.facility |  |  | 1960-01-01 | 0 | D5036-Clock and Program Systems | FY5- Current FY +4 | Pending |  |  | _SRO Archive July 2019 |  | TRUE | 17732127 | Clock System - Small Building Renewal | [8 empty] | Open | Electrical System | SYS-28607 |  |  | 11 | D5036 | No

## Room Sample Records
Room - Area | Room - Comments | Room - Create Date | Room - Created By | Room - Currency | Room - Department | Room - Description | Room - Files | Room - Floor | Room - ID | Room - Modified By | Room - Modified Date | Room - Number | Room - Phone | Room - Photo | Room - Room Name | Room - Use
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0
[7 empty] | 0 | [6 empty] | 0

## System Sample Records
System - % Renew | System - % Used(Age-Based) | System - % Used(Observed) | System - Adjustment Factor | System - Age | System - Building Name | System - Building Number | System - Comments | System - Cost Difference | System - County Name | System - Create Date | System - Created By | System - Currency | System - Date Inspected | System - Default Quantity | System - Description | System - Files | System - ID | System - Inspector | System - Is Year Installed Estimated | System - Lifetime | System - Linked Requirements | System - Locked | System - Modeled End Of Life | System - Modeled Renewal Cost | System - Modeled Renewal Date | System - Modeled Renewal FY | System - Modified By | System - Modified Date | System - Observed | System - Origin | System - Original AssetID | System - Photos | System - Quantity | System - Region Name | System - Renewal action Cost | System - Renewal action FY | System - Renewal Cost Difference | System - Renewal FY Difference | System - Renewal in sync | System - Renewal Year(Age-Based) | System - Renewal Year(Observed) | System - Replacement Cost | System - SCI | System - System Condition Rating | System - System Group | System - System Name | System - Uniformat | System - Uniformat Code | System - Unit Cost | System - Unit Cost Basis | System - Unit of Measure | System - Year Installed | System - Years Remaining(Age-Based) | System - Years Remaining(Observed)
0 | 28 | 8 | 1.32 | 21 | Legal Bldg. Modular | Z-05-A2 | Caisson: Ftprnt SF/1000 x Quantity = SF$ | RenewalCostSynch.gif | Retired Buildings | 2006-05-18 14:46 | user | USD | 2006-05-18 | Asset Perimeter | This substructure includes concrete caissons, 50 ft. deep in wet or stable ground. | 0 | SYS-1326 |  | TRUE | 75 | 0 | FALSE | 2075 | 0 | 2075-05-18 | 2075 | user | 2008-10-30 17:46 | eye.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2075 | 0 | No |  | 2075 | 2075 | 5000 | 0 |  | Structure | Caissons in Stable Ground | A - Substructure | A | 250 | 250 | SF | 2000 | 54 | 69
0 | 30.6667 |  | 1.32 | 23 | Family Law Court | 33-A1 | Caps: Ftprnt SF/1000 x Quantity = SF$ | RenewalCostSynch.gif | Riverside | 2006-05-17 14:41 | user | USD |  | Asset Footprint | The building substructure includes pile caps and piles 50 feet in length in clusters of 10 at each pile cap. | 0 | SYS-1423 |  | FALSE | 75 | 0 | FALSE | 2073 | 0 | 2073-01-01 | 2073 | user | 2019-08-15 15:49 | agebased.gif | VFA.facility |  | 0 | 1600 | _SRO Archive July 2019 | 0 | 2073 | 0 | No |  | 2073 |  | 5000 | 0 |  | Structure | Pile Foundations | A - Substructure | A | 250 | 250 | SF | 1998 | 52
0 | 100 | 60 | 1.32 | 37 | San Fernando Courthouse | 19-AC1 | 10% of partition area | RenewalCostSynch.gif | Los Angeles | 2006-05-06 14:45 | user | USD | 2006-04-21 |  | Building wall coverings include 6 x 4 thin set ceramic decorator tile at medium price. Tile job includes wainscot with bullnose trim. | 0 | SYS-262 |  | FALSE | 20 | 1 | FALSE | 2014 | 0 | 2014-04-21 | 2014 | user | 2019-08-15 16:02 | eye.gif | VFA.facility |  | 0 | 1600 | _SRO Archive July 2019 | 0 | 2014 | 0 | No | icon_check.gif | 2004 | 2014 | 5000 | 0 |  | Interior Construction and Conveyance | Ceramic Tiles | C3010 - Wall Finishes | C3010 | 250 | 250 | SF | 1984 | 0 | 8
0 | 48 | 28 | 1.32 | 36 | Rancho Cucamonga Courthouse | 36-F1 | Adjustment factor increased due to the customer foundation of this facility that included a base isolation system. | RenewalCostSynch.gif | San Bernardino | 2006-05-18 10:32 | user | USD | 2006-05-18 | Asset Footprint | The building substructure includes a base isolation system that may include pile caps and piles 50 feet in length in clusters of 10 at each pile cap. | 0 | SYS-551 |  | FALSE | 75 | 0 | FALSE | 2060 | 0 | 2060-05-18 | 2060 | user | 2019-08-15 16:01 | eye.gif | VFA.facility |  | 0 | 1600 | _SRO Archive July 2019 | 0 | 2060 | 0 | No |  | 2060 | 2060 | 5000 | 0 |  | Structure | Pile Foundations | A - Substructure | A | 250 | 250 | SF | 1985 | 39 | 54
0 | 40 | 0 | 1.32 | 8 | Hall of Justice (West) | 43-A2 | Per controller per car group. Elevator controls replaced under FM-0022152. | RenewalCostSynch.gif | Santa Clara | 2009-10-27 16:46 | user | USD | 2009-10-13 |  | Conveying equipment controls. Master control cabinet and associated equipment. | 0 | SYS-16775 |  | TRUE | 20 | 1 | FALSE | 2029 | 0 | 2029-10-13 | 2030 | user | 2019-08-15 15:53 | eye.gif | VFA.facility |  | 1 | 1600 | _BANCRO Archive July 2019 | 0 | 2030 | 0 | No | icon_check.gif | 2033 | 2030 | 5000 | 0 |  | Interior Construction and Conveyance | Elevator Controls - Motor Controller | D1010 - Elevators and Lifts | D1010 | 250 | 250 | Each | 2013 | 12 | 20
0 | 30.6667 |  | 1.32 | 23 | Civic Center Courthouse | 38-A1 | Caps: Ftprnt SF/1000 x Quantity = SF$ | RenewalCostSynch.gif | San Francisco | 2006-05-16 15:52 | user | USD |  | Asset Footprint | The building substructure includes pile caps and piles 50 feet in length in clusters of 10 at each pile cap. | 0 | SYS-1253 |  | FALSE | 75 | 0 | FALSE | 2073 | 0 | 2073-01-01 | 2073 | user | 2019-08-15 15:35 | agebased.gif | VFA.facility |  | 0 | 1600 | _BANCRO Archive July 2019 | 0 | 2073 | 0 | No |  | 2073 |  | 5000 | 0 |  | Structure | Pile Foundations | A - Substructure | A | 250 | 250 | SF | 1998 | 52
0 | 100 | 60 | 1.32 | 37 | temp | 1 | 10% of partition area | RenewalCostSynch.gif | temp RMD | 2019-07-19 07:08 | user | USD | 2006-04-21 |  | Building wall coverings include 6 x 4 thin set ceramic decorator tile at medium price. Tile job includes wainscot with bullnose trim. | 0 | SYS-45014 |  | FALSE | 20 | 1 | FALSE | 2014 | 0 | 2014-04-21 | 2014 | user | 2019-08-15 14:32 | eye.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2014 | 0 | No | icon_check.gif | 2004 | 2014 | 5000 | 0 |  | Interior Construction and Conveyance | Ceramic Tiles | C3010 - Wall Finishes | C3010 | 250 | 250 | SF | 1984 | 0 | 8
0 | 48 | 28 | 1.32 | 36 | temp | 1 | Adjustment factor increased due to the customer foundation of this facility that included a base isolation system. | RenewalCostSynch.gif | temp RMD | 2019-07-19 07:08 | user | USD | 2006-05-18 | Asset Footprint | The building substructure includes a base isolation system that may include pile caps and piles 50 feet in length in clusters of 10 at each pile cap. | 0 | SYS-45425 |  | FALSE | 75 | 0 | FALSE | 2060 | 0 | 2060-05-18 | 2060 | user | 2019-08-15 14:31 | eye.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2060 | 0 | No |  | 2060 | 2060 | 5000 | 0 |  | Structure | Pile Foundations | A - Substructure | A | 250 | 250 | SF | 1985 | 39 | 54
0 | 30.6667 |  | 1.32 | 23 | temp | 1 | Caps: Ftprnt SF/1000 x Quantity = SF$ | RenewalCostSynch.gif | temp RMD | 2019-07-19 07:08 | user | USD |  | Asset Footprint | The building substructure includes pile caps and piles 50 feet in length in clusters of 10 at each pile cap. | 0 | SYS-45416 |  | FALSE | 75 | 0 | FALSE | 2073 | 0 | 2073-01-01 | 2073 | user | 2019-08-15 14:31 | agebased.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2073 | 0 | No |  | 2073 |  | 5000 | 0 |  | Structure | Pile Foundations | A - Substructure | A | 250 | 250 | SF | 1998 | 52
0 | 40 | 0 | 1.32 | 8 | temp | 1 | Per controller per car group. Elevator controls replaced under FM-0022152. | RenewalCostSynch.gif | temp RMD | 2019-07-18 15:34 | user | USD | 2009-10-13 |  | Conveying equipment controls. Master control cabinet and associated equipment. | 0 | SYS-36042 |  | TRUE | 20 | 1 | FALSE | 2029 | 0 | 2029-10-13 | 2030 | user | 2019-08-15 14:24 | eye.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2030 | 0 | No | icon_check.gif | 2033 | 2030 | 5000 | 0 |  | Interior Construction and Conveyance | Elevator Controls - Motor Controller | D1010 - Elevators and Lifts | D1010 | 250 | 250 | Each | 2013 | 12 | 20
0 | 30.6667 |  | 1.32 | 23 | temp | 1 | Caps: Ftprnt SF/1000 x Quantity = SF$ | RenewalCostSynch.gif | temp RMD | 2019-07-18 15:34 | user | USD |  | Asset Footprint | The building substructure includes pile caps and piles 50 feet in length in clusters of 10 at each pile cap. | 0 | SYS-33758 |  | FALSE | 75 | 0 | FALSE | 2073 | 0 | 2073-01-01 | 2073 | user | 2019-08-15 14:56 | agebased.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2073 | 0 | No |  | 2073 |  | 5000 | 0 |  | Structure | Pile Foundations | A - Substructure | A | 250 | 250 | SF | 1998 | 52
1 | 7 |  | 1 | 7 | U.S. Post Office | 01-A3 |  | RenewalCostSynch.gif | Retired Buildings | 2014-10-31 09:24 | user | USD |  |  |  | 0 | SYS-27680 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user |  | agebased.gif | VFA.facility |  | 0 | 1600 | Z - Retired Buildings | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Structure | A1010 - Standard Foundations | A1010 - Standard Foundations | A1010 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:10 | user | USD |  |  |  | 0 | SYS-26421 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Floor Raceway Systems | D5093 - Floor Raceway Systems | D5093 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26420 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Emergency Light & Power Systems | D5092 - Emergency Light and Power Systems | D5092 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26419 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Grounding Systems | D5091 - Grounding Systems | D5091 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26418 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Other Electrical Systems | D5090 - Other Electrical Systems | D5090 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26417 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Floor Raceway Systems | D5093 - Floor Raceway Systems | D5093 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26416 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Emergency Light & Power Systems | D5092 - Emergency Light and Power Systems | D5092 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26415 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Grounding Systems | D5091 - Grounding Systems | D5091 | 0 | 1 | Each | 2014 | 93
1 | 7 |  | 1 | 7 | Sweep Template | 1 |  | RenewalCostSynch.gif | Sweep Template | 2014-10-30 15:09 | user | USD |  |  |  | 0 | SYS-26414 |  | FALSE | 100 | 0 | FALSE | 2114 | 0 | 2114-01-01 | 2114 | user | 2014-11-20 16:26 | agebased.gif | VFA.facility |  | 0 | 1600 | X-Template | 0 | 2114 | 0 | No |  | 2114 |  | 0 | 0 |  | Electrical System | Other Electrical Systems | D5090 - Other Electrical Systems | D5090 | 0 | 1 | Each | 2014 | 93