## Service Level Requirements
Data Center Services
SLR | Service Measure | Performance Target | Minimum Performance | Measurement Interval | Reporting Period | Formula | Measurement Tool | Fee Reduction Weighting Factor
System Availability | System Availability is defined as the availability of in scope infrastructure components required to conduct the normal business operation of Judicial Council Application systems including servers (e.g., server CPU, memory, internal storage), external storage, System Software and network connection. Availability will be measured based on the availability of each Judicial Council Application (i.e. excludes application availability and other out-of-scope components as determined by Root Cause Analysis) to conduct the normal business operation by all End-Users of the applicable Judicial Council Application. Excludes scheduled maintenance window. See Appendix System Classifications for Availability
System Availability Class 1-Mission Critical | System Availability | Per Schedule | 99.9% | Monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 0%
System Availability Class 2-Business Critical | System Availability | Per Schedule | 99.7% | Monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 0%
System Availability Class 3-Critical | System Availability | Per Schedule | 98% | Monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 0%
System Performance | [7 empty] | 0%
Response time for Judicial Council Application Systems | Online response time | 90% of transactions complete ≤ 0.5 seconds 95% of transactions complete ≤1.0 seconds 100% of transactions complete ≤ 3.0 seconds | n/a | Monthly | Monthly | Number of transactions completed within performance target/total number of transactions completed during the Measurement Interval |  | 0%
Event Processing | Scheduled Production Events: events include event setup, execution and completion of normally scheduled production batch jobs.
Scheduled Production Events | Per scheduled time | Complete core jobs events per the Judicial Council’s approved schedule | 99% | Daily | Monthly | Complete core jobs events per the Judicial Council’s approved schedule |  | 0%
Database Administration
Performance Tuning and Maintenance | Elapsed time | Two hours to respond to ad-hoc requests | 98% | Monthly | Monthly | Total number of events completed within performance target/total number of events scheduled, due or required | JCC ServiceNow | 0%
Disaster Recovery Testing
DR Test | Successful DR test | Successful annual test of each DR recovery time | 100% | Annual | Annual | Number of tests completed within performance target /total of all tests occurring during Measurement Interval | Manual | 5%
Backups
Incremental Daily Backup | Successful backup | Per Schedule | 98% | Monthly | Monthly | Number of backups completed on schedule/total of all backups scheduled during Measurement Interval |  | 5%
Full Weekly Backup | Successful backup | Per Schedule | 100% | Monthly | Monthly | Number of backups completed on schedule/total of all backups scheduled during Measurement Interval |  | 5%
Full Monthly Archive Backup | Successful backup | Per Schedule | 100% | Monthly | Monthly | Number of backups completed on schedule/total of all backups scheduled during Measurement Interval |  | 5%
Quarterly Test of Backup Restore Process | Test results | Successful tests | 100% | Quarterly | Quarterly | TBD | JCC ServiceNow | 0%
Data Network Management
SLR | Service Measure | Performance Target | Minimum Performance | Measurement Interval | Reporting Period | Formula | Measurement Tool | Fee Reduction Weighting Factor
Network Availability | Network Availability is defined as the time during which connectivity is fully functioning and normal business operations can be carried out with no data loss, downtime, or performance degradation. Court WAN Availability requirements shall be met through Vendor specified and Judicial Council approved solutions for each Class: Class 1 - Dual Routers, Dual Circuits, Dual POPS Class 2 - Dual Router Dual Circuit Class 3 - Dual or Single Circuits Single Router
Class 1 Site WAN Availability | Availability | 24 x7 Excluding maintenance window | 99.99% | Monitor continuously, measure monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 10%
Class 2 Site WAN Availability | Availability | 24 x7 Excluding maintenance window | 99.95% | Monitor continuously, measure monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 10%
Class 3 Site WAN Availability | Availability | 24 x7 Excluding maintenance window | 99.7% | Monitor continuously, measure monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 5%
VPN Availability | Availability | 24 x7 Excluding maintenance window | 99.99% | Monitor continuously, measure monthly | Monthly | Availability(%) = 100% - Unavailability (%) Where Unavailability is defined as: [(Sum of Outage Duration) / (Scheduled Time)]% Scheduled Time = (Total possible time in Measurement Interval – maintenance window time) |  | 0%
Network Administration
Network Capacity Monitoring | Proactive monitoring of each circuit and supporting network components and proactive notification to advise the Judicial Council of need to increase capacity per the Judicial Council requirements | Sustained avg. daily utilization reaches 60% of circuit provisioned capacity (in and out of in scope components) | 98% | Monthly | Monthly | Events completed within performance target / total events |  | 0%
Implementation of Emergency Firewall Changes (changing, adding/deleting firewall rules) | Response time | ≤2 hours after Judicial Council approval | 99% | Monthly | Monthly | Events completed within performance target / total events | JCC ServiceNow | 0%
Implementation of Standard Firewall Changes (changing, adding/deleting firewall rules) | Response time | Within normal Change control procedures after approval by the Judicial Council | 99% | Monthly | Monthly | Events completed within performance target / total events | JCC ServiceNow | 0%
IT Service Management & Life Cycle Services
SLR | Service Measure | Performance Target | Minimum Performance | Measurement Interval | Reporting Period | Formula | Measurement Tool | Fee Reduction Weighting Factor
Incident Resolution
Time to Notify Judicial Council of a Priority 1 or 2 Incident | Time to respond | <15 minutes | 98% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 0%
Incident Resolution - Priority Level 1 | Time to Resolve | <4 hours | 95% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 10%
Incident Resolution - Priority Level 2 | Time to Resolve | <8 hours | 95% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 10%
Incident Resolution - Priority Level 3 | Time to Resolve | Next Business Day | 95% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 0%
Incident Resolution - Priority Level 4 | Time to Resolve | Next Business Day or as prioritized by Vendor | 95% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 0%
Root Cause Analysis | Time to provide initial report of Incident cause | Within 24 hours of Incident Resolution for Priority Level 1 or 2 (or by the end of the next Business Day if the calculated 24 hour time to provide the initial report of the Incident cause falls outside of Business Hours) | 98% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 0%
| Time to provide Formal Root Cause Analysis report | Within 5 Business Days of Incident Resolution for Priority Level 1 or 2 | 98% | Monthly | Monthly | Number of requests completed within performance target/total of all requests occurring during Measurement Interval | JCC ServiceNow | 5%
End-to-End Response to Prioritized Work Orders, rough orders of magnitude (ROMs) and Requirements Reviews Requests | Response Time | Small Requests: 5 Business Days Medium Requests: 10 Business Days Large Requests: 15 Business Days Requirements Reviews: 5 Business Days | 90% | Monthly | Monthly | Performance = Prioritized requests delivered within required time/total requests scheduled to be delivered during the Measurement Interval | Manual/Spreadsheet | 10%
Work Order Requirements Document - Rework Request Following Judicial Council submission of Requirements Document Note: if Judicial Council requests a material change in a requirements document after initial submission of requirements document which change is not in response to a rework request by Vendor, and a rework request was submitted by Vendor prior to the date of the Judicial Council's requested change, then Vendor will be allowed one additional rework request during the applicable Measurement Interval. | Number of Work Order Requirements Document Rework Requests | No more than 1 Requirements Document Rework Request per Measurement Interval | n/a | Monthly | Monthly | Performance = Number of Work Order Requirements Document Rework Requests ≤ 1 per Measurement Interval | Manual/Spreadsheet | 5%
Accuracy of Data in Monthly Invoice | Accuracy as determined by audit | n/a | 98% | Monthly | Monthly | Number of tracked Program Chargeback Fees by Resource Unit category where data element is determined to be correct/total number of tracked Resource Unit categories sampled | Manual/Spreadsheet | 5%
Work Order Project Delivery Milestones Milestones shall be defined and mutually agreed as part of each Work Order development and approval process. If a dependency on the Judicial Council is identified in the respective Work Order/Project plan and the Judicial Council delays in performing such dependency, and such Judicial Council delay causes delay in Vendor’s ability to meet the Proposed Completion Date of Key Milestone, the Vendor’s Proposed Completion Date shall be adjusted on a Business Day-for-Business Day basis to reflect the number of Business Days by which the Judicial Council delayed. | Work Order Project Delivery Milestone Completion on Schedule | Per Schedule | 90% | Monthly | Monthly | [Number of Milestones that are required to be completed during the Measurement Interval that are completed within the required time frame /number of Milestones required to be completed during the Measurement Interval] * 100% | JCC ServiceNow | 5%
CMRC Reports and Reviews | Meets all requirements described in Exhibit XX | Per established schedule | 100% | Monthly | Monthly | Total number of events completed within performance target/total number of events scheduled, due or required | Manual/Spreadsheet | 5%
Operational Report Delivery Timeliness | Delivery of Reports | Reports completed and delivered on time | 98% of reports with Judicial Council required content by Due Date 100% within +2 Business Days of Due Date | Monthly | Monthly | [Number of Reports required to be delivered during the Measurement Interval that are delivered by the Due Date in the required format and to the required recipient(s)/number of Reports required to be delivered during the Measurement Interval] * 100% “Due Date” means (1) for Reports listed in Exhibit XX to the Agreement, the due date specified in such Exhibit and (2) for ad hoc Reports, the due date specified by Judicial Council | Manual/Spreadsheet | 5%
85%

## Incident Priority Levels
1 - Emergency/Urgent | A Priority Level 1 Incident is generated if: • A critical component of an application or the entire application has stopped or is so severely impacted that the application or component cannot reasonably continue to operate and there is no Workaround available; • A critical business process has stopped or is so severely impacted that the business process cannot reasonably continue to occur and there is no Workaround; or • Data is corrupted or data integrity issues related to security/confidentiality pose a risk to the Judicial Council Examples: • Major Judicial Council application software or connectivity Problem (e.g., SAP, CMS, and all related supporting interfaces and applications required to deliver normal business functions) • Severe Problem during critical periods (e.g., month-end processing, payroll processing) • Security violation (e.g., denial of service, widespread virus, etc.)
2 - High | A Priority Level 2 Incident is generated if: • A critical component of the application is unavailable or will not work or the entire application has stopped or is so severely impacted that the application or component cannot reasonably continue to operate, but a Workaround is available; • A critical business process is unavailable or is so severely impacted that the business process cannot reasonably continue to occur, but a Workaround is available • A non-critical component of the application is unavailable, will not work or is not operating as expected and there is no Workaround available; • A non-critical business process is unavailable or is not occurring as expected and there is no Workaround available Examples: • Business functions are severely degraded, multiple End-Users (less than 25) are impacted or a key customer is affected. • Batch processing issues for mission critical applications. • Financial reporting issues; reports not tying to the general ledger.
3 - Medium | A Priority Level 3 Incident is generated if a non-critical component of the application is unavailable, will not work or is not operating as expected and there is a Workaround available; or a non-critical business process is unavailable or is not occurring as expected and a Workaround is available. Examples: • Degraded performance on a workstation. • Single End-User affected accessing critical application functions.
4 - Low | A Priority Level 4 Incident is generated if there is a Problem other than Priority Level 1, Priority Level 2, and Priority Level 3 Incidents. Example: • A Problem that affects a single End-User and does not impact or disrupt the End-User’s daily tasks or an Incident that has little impact on normal business processes and can be handled on a scheduled basis, such as: (i) End-User requests (e.g., system enhancement), (ii) peripheral problems (e.g., network printer); and (iii) preventative maintenance.

## System Classifications
Class | Availability Schedule
1-Mission Critical – 99.9% minimum performance
2 - Business Critical – 99.7% minimum performance
3 - Critical – 98% minimum performance
1 | 24 x7
2 | 24 x7
3 | 24 x7
Application listing to be provided during contract negotiations.