Questions and Answers

**Q: Who pays for structural engineer referenced on item #12 on Statement of Work (attachment #1 posted online)?**

*“12. All projectors and speakers are to be suspended from the building structure or attached to rated framing. It is the responsibility of the Contractor to provide a safe support system for the loudspeakers and projectors using rated hardware from the manufacturer. These suspension systems must be reviewed and approved by a licensed structural engineer.”*

**A:** Structural engineering support for installation of unistrut or beam clamps onto building necessary for mounting of projector or screen will be provided by general contractor and DGS

**Q: What equipment is to be included on the bid for the Library 500?**

**A:** All equipment in Library 500 is OFE. Video and audio signal from Courtroom 100 needs to be turned on/off from the control system in Courtroom 100.

**Q: What equipment is to be included on the bid for the Training Room 402?**

**A:** Display, mount, and receiver in Training Room 402 are OFE. Mounting services only are to be included on the bid.

**Q: What equipment is to be included on the bid for the Conference Room 402A?**

**A:** Ceiling microphones, DSP, control system, switch, loud speakers, audio conferencing, playback device, 2 wireless microphones for local sound reinforcement (1 handheld, 1 lapel), plug-n-play wireless VGA/HDMI solution to be connected to computer source and AV switch. Note: **NO** videoconferencing capabilities to be integrated with this system. Satellite receiver is OFE to be displayed in both 402 and 402A rooms.

**Q: Is this a prevailing wage project?**

**A:** Yes

**Q: Would you like the AV contractor to provide a performance Bond?**

**A:** No

**Q: Will the AV contractor need to provide just the infrastructure drawings for the conduit necessary or will they also be responsible for the installation of conduit?**

**A:** No, AV contractor is not required to install conduit for the project. All conduit will be installed by General Contractor.