## Instructions
Attachment C1
Proposed Equipment Form
Region: | NCRO
Proposer:
Instructions for completing Attachment C1
1) All yellow cells must be filled by Proposer. Failure to provide required information may result in rejection of the Proposal as non-responsive.
General instructions:
1) Complete one Attachment C1 for each region for which your are submitting a proposal.
2) Fill in ALL yellow cells.
3) Do NOT alter gray cells.
4) Instructions and notes for each worksheet are shown at the top of the worksheet.
Steps for completing Attachment C1:
1) Review the information provided in the Site Data worksheet and Existing Generator Details worksheet to inform your Proposal.
2) Complete ALL required information in the System Specification PV-Only worksheet and System Specification PV+BESS worksheet as indicated by the yellow cells.
Questions regarding completing Attachment C1, the Project, or the RFP:
Questions concerning how to fill out Attachment C1 or those that pertain generally to the Project, RFP, or Proposal must be emailed to the address specified in the RFP, BEFORE the due date and time for RFP questions submission. Questions submitted after the published due date and time may not be answered, however, if at any time you find some part of the spreadsheet is not working properly please notify the Judicial Council through the channels outlined in the RFP. The spreadsheet is locked. Attempts to unlock the spreadsheet or modify its functions are grounds for disqualification of the Proposer.

## Site Data
Attachment C1, Site Data
Proposed Equipment Form
Region: | NCRO
Proposer: | 0
[12 empty] | Microgrid Proposal | [7 empty] | PV-Only | IA System Sizes (PV+BESS)
Site Number | Site Name | Site ID | Service Address | Service Provider | Service Account ID | Meter ID | Current Tariff | Post-Construction Tariff | Tie-in or NEMA | Current Annual Electricity Usage (kWh) | Year 1 Target PV Production (kWh) | Minimum BESS Capacity Reserved for Resiliency (kWh) | Rooftop Solar Available | Roof Area to be Replaced (if Rooftop array included in design) (sqft) | Roof Material | Rooftop notes | SPPA or SEL | SPPA/SEL Term (yrs) | IA Status | Max PV Size | PV kW AC | PV kW DC | PV kW CEC-AC | BESS kWh | BESS kW AC | Include
1 | Amador Superior Court | 03-C1 | 500 ARGONAUT LANE, JACKSON, CA 95642 | PG&E | 2232606688 | 1009483914 | B-10S | B-10S | Tie-in | 258370.56 | 233000 | 105 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 150 | 156 | 144.9825 | 232 | 70 | Yes
2 | North Butte County Courthouse | 04-F1 | 1775 CONCORD AVENUE, CHICO, CA 95928 | PG&E | 5424348248 | 1009947618 | B-10S | B-10S | Tie-in | 992079 | 893000 | 483.3 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 550 | 570.24 | 529.9668 | 1160 | 350 | Yes
3 | B. F. Sisk Courthouse | 10-O1 | 1130 O ST., FRESNO, CA | PG&E | 9044461209 | 1010046598 | B-10S | B-10S | Tie-in | 1782103.6 | 1604000 | 630 | Yes | 0 | Modified Bitumen | Post fall 2022 solar install after reroof by Judicial Council | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 400 | 475.2 | 430.598 | 1392 | 420 | Yes
4 | Kings Superior Court | 16-A5 | 1640 KINGS COUNTY DRIVE, HANFORD, CA 93230 | SCE | 3043544311 | 259000-079230 | TOU-8-D | TOU-8-E | Tie-in | 2054349.8663 | 1849000 | 420 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 700 | 792 | 717.6634 | 928 | 280 | Yes
5 | The Robert M. Falasco Justice Center | 24-G1 | 1159 G STREET, LOS BANOS, CA 93635 | PG&E | 3423047368 | 1009515128 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 383417.6 | 345000 | 186.72 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 250 | 249.12 | 225.7378 | 464 | 140 | Yes
6 | Mammoth Lakes Courthouse | 26-B2 | 100 THOMPSON WAY, MAMMOTH LAKES, CA 93546 | SCE | 8000263819 | 259000-090314 | TOU-GS-2-D | TOU-GS-2-E | Tie-in | 238125.9815 | 214000 | 98.4 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 133.2 | 152.64 | 138.3133 | 232 | 70 | Yes
7 | Sutter County Superior Courthouse | 51-C1 | 1175 CIVIC CENTER BLVD., YUBA CITY, CA 95993 | PG&E | 3429640317 | 5000037342 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 1059942.3 | 954000 | 523.5 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 600 | 640.32 | 580.22 | 1160 | 350 | Yes
8 | Tehama County Courthouse | 52-E1 | 1740 WALNUT STREET, RED BLUFF, CA 96080 | PG&E | 7120026238 | 1008843645 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 620107.5 | 558000 | 315 | Yes | 0 | Single ply membrane, TPO / PVC |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 350 | 368.16 | 333.6047 | 696 | 210 | Yes
9 | South County Justice Center | 54-I1 | 300 EAST OLIVE AVENUE, PORTERVILLE, CA 93257 | SCE | 8000534833 | V349N-003192 | TOU-GS-3-D CPP | TOU-GS-3-E CPP | Tie-in | 1330880.6412 | 1198000 | 420 | No | N/A |  |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 700 | 792.96 | 718.5333 | 928 | 280 | Yes
10 | Yolo Superior Court | 57-A10 | 1000 MAIN STREET, WOODLAND, CA 95695 | PG&E / VCEA | 6751141316 | 1010078999 | B-19S | B-19S Option R | Tie-in | 1377841.2 | 1240000 | 590.2 | Yes | 0 | Modified Bitumen |  | SPPA | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 466.2 | 489.6 | 443.6464 | 1624 | 490 | Yes
[9 empty] | Project Totals | 10097218.249 | 9088000 | 3772.12
Notes:
Current Annual Electricity Usage (kWh) is based on the interval usage profiles for CY2019 where available. Dates are shown in interval data file.
Roof Area is only listed for sites that shall include roof replacement costs as a project development cost if the rooftop is used.
Some sites require a Solar Equipment Lease (SEL) rather than a SPPA. Each worksheet specifies which pricing is being requested.

## Existing Generator Details
Attachment C1, Existing Generator Details
Proposed Equipment Form
Region: | NCRO
Proposer: | 0
Site Number | Site Name | Site ID | Include | Onsite Emergency Generator (Y/N) | Onsite Generator Location | Onsite Generator Manufacturer | Onsite Generator Model | Onsite Generator Serial Number | Generator In Service Date | Generator HP | Generator Voltage | Generator Amps | Generator Fuel Type | Generator Phase | Generator Notes | Generator Floor Number | Generator Room Number | Generator Room Description | Generator Drawing Location | Generator Manual Location | Generator Permit To Operate | Generator Permitting Agency
1 | Amador Superior Court | 03-C1 | Yes | Y | Parking Lot | Kohler | D1DOPEOZJC | 2140144 | 2007-06-16 | 157 | 120/240 | DNA | Diesel | 3 Ph, 60 Hz | Diesel Engine: John Deere Model 4045HF275, Block Serial Number PE4045H634573, 200 Gallon Diesel Tank Permit requirements: Maintenance & testing operations limit = 50 hours. Annual submission of hours of operation for maintenance and testing, total hours of operation, type and quantity of fuel, end-of-year hours meter reading Diesel belly tank: 200 gallons anti freeze = 4 gal | Exterior | NA | Parking Lot | Electrical Room | Electrical Room | YES | Amador County APCD
2 | North Butte County Courthouse | 04-F1 | Yes | Y | Exterior Chiller Yard | Generac | SD500 | SD500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | B. F. Sisk Courthouse | 10-O1 | Yes | Y | Emergency Generator Room | Caterpillar | Model 3406 | 8ER03434 | 2010-12-22 | 599 | 480 | 527 | Diesel | 0 | Phase = (3 WYE), Oil Filter - 1R-0716 (CAT), Fuel Filter - 1R-0749 (CAT), Air Cleaner Filter Panel - 4N-0015-CAT, Hydraulic Filter PS50251 (Donaldson) Diesel engine: Caterpillar Model 3406 | Basement | B80 | Emergency Generator Room | DNA | DNA | Yes | San Joaquin Valley APCD
4 | Kings Superior Court | 16-A5 | Yes | Y | 1st Flr. Cetral Plant Generator Enclosure | Caterpillar | C27 | CAT00C27KGDS00553 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | The Robert M. Falasco Justice Center | 24-G1 | Yes | Y | East Side of Grounds in Generator Area | Iveco | F3AE9685A-E | 9906865 | 2016-05-12 | 449 | 408 | NA | Diesel | NA | Diesel engine: Iveco/FPT Model F3AE9685A-E (Tier 3 Certified). Diesel belly tank: 450 gallons 375 KVA" | Grounds | East Side of Grounds in Generator Area | East Side of Grounds in Generator Area | Mech Office | Mech Office | Yes | San Joaquin Valley APCD
6 | Mammoth Lakes Courthouse | 26-B2 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | Sutter County Superior Courthouse | 51-C1 | Yes | Y | Generator Yard | Onsite Energy | DS500D6SRA | 130901044-010010 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
8 | Tehama County Courthouse | 52-E1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | South County Justice Center | 54-I1 | Yes | Y | Generator Compound | Caterpillar | LC7 Generator | G7A04207 | 1969-12-31 | 900 | 480 | DNA | Diesel | 3 | LC7/C18 gen-set produces 750 KVA / 600KW Diesel engine: Caterpillar Model C18, Serial number FST00761 Permit requirements: Reliability-related testing shall not exceed 50 hours per year. Diesel belly tank: 500 gallons. | Exterior | Judges Parking Area | Generator Compound | DNA | DNA | Yes | San Joaquin Valley APCD
10 | Yolo Superior Court | 57-A10 | Yes | Y | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available | Not available

## System Specification PV-Only
DIRECTIONS FOR COMPLETING THIS WORKSHEET 1) Proposers MUST fill in ALL yellow cells 2) Do not alter gray cells. 3) If a blend of modules sizes is proposed, list all model numbers and manufacturer and use a weighted average value for the DC STC Rating (Watts) in Column K.
Attachment C1, System Specification PV-Only
Proposed Equipment Form
Region: | NCRO
Proposer: | 0
SOLAR PV SPECIFICATIONS
[5 empty] | PV Module Specification |  |  |  |  | Inverter Specification
Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio
1 | Amador Superior Court | 03-C1 | Yes | 233000 |  |  |  |  | 0 | [5 empty] | 0
2 | North Butte County Courthouse | 04-F1 | Yes | 893000 |  |  |  |  | 0 | [5 empty] | 0
3 | B. F. Sisk Courthouse | 10-O1 | Yes | 1604000 |  |  |  |  | 0 | [5 empty] | 0
4 | Kings Superior Court | 16-A5 | Yes | 1849000 |  |  |  |  | 0 | [5 empty] | 0
5 | The Robert M. Falasco Justice Center | 24-G1 | Yes | 345000 |  |  |  |  | 0 | [5 empty] | 0
6 | Mammoth Lakes Courthouse | 26-B2 | Yes | 214000 |  |  |  |  | 0 | [5 empty] | 0
7 | Sutter County Superior Courthouse | 51-C1 | Yes | 954000 |  |  |  |  | 0 | [5 empty] | 0
8 | Tehama County Courthouse | 52-E1 | Yes | 558000 |  |  |  |  | 0 | [5 empty] | 0
9 | South County Justice Center | 54-I1 | Yes | 1198000 |  |  |  |  | 0 | [5 empty] | 0
10 | Yolo Superior Court | 57-A10 | Yes | 1240000 |  |  |  |  | 0 | [5 empty] | 0
[8 empty] | Project Totals | 0 |  |  |  |  | 0 | 0

## System Specification PV+BESS
DIRECTIONS FOR COMPLETING THIS WORKSHEET 1) Proposers MUST fill in ALL yellow cells 2) Do not alter gray cells. 3) If a blend of modules sizes is proposed, list all model numbers and manufacturer and use a weighted average value for the DC STC Rating (Watts) in Column K. 4) Note: BESS Sizing (kW and kWh) are inputs in both Attachment C1 and C2. Please ensure that both forms contain the same values for each site.
Attachment C1, System Specification PV+BESS
Proposed Equipment Form
Region: | NCRO
Proposer: | 0
[5 empty] | SOLAR PV SPECIFICATIONS | [10 empty] | BESS/MICROGRID SPECIFICATIONS
[5 empty] | PV Module Specification |  |  |  |  | Inverter Specification | [5 empty] | BESS Details | [5 empty] | Microgrid Details
Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio | BESS Provider | Battery Manufacturer | Control System/Software Provider | kW | kWh | Total Footprint Req'd (sqft) | Management System Provider | Management System Manufacturer | Power Conversion System Provider | Power Conversion System Manufacturer | Controller Provider | Controller Manufacturer
1 | Amador Superior Court | 03-C1 | Yes | 233000 |  |  |  |  | 0 | [5 empty] | 0
2 | North Butte County Courthouse | 04-F1 | Yes | 893000 |  |  |  |  | 0 | [5 empty] | 0
3 | B. F. Sisk Courthouse | 10-O1 | Yes | 1604000 |  |  |  |  | 0 | [5 empty] | 0
4 | Kings Superior Court | 16-A5 | Yes | 1849000 |  |  |  |  | 0 | [5 empty] | 0
5 | The Robert M. Falasco Justice Center | 24-G1 | Yes | 345000 |  |  |  |  | 0 | [5 empty] | 0
6 | Mammoth Lakes Courthouse | 26-B2 | Yes | 214000 |  |  |  |  | 0 | [5 empty] | 0
7 | Sutter County Superior Courthouse | 51-C1 | Yes | 954000 |  |  |  |  | 0 | [5 empty] | 0
8 | Tehama County Courthouse | 52-E1 | Yes | 558000 |  |  |  |  | 0 | [5 empty] | 0
9 | South County Justice Center | 54-I1 | Yes | 1198000 |  |  |  |  | 0 | [5 empty] | 0
10 | Yolo Superior Court | 57-A10 | Yes | 1240000 |  |  |  |  | 0 | [5 empty] | 0
[8 empty] | Project Totals | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0

## Lists (hidden)
#REF!
FORM C2, Lists
#REF!
Utility Company
PG&E
Yes/No |  | PPA Contact Term | Wire Type | Lease Types
Yes | Yes | 20 | Copper | Capital
No | No | 25 | Aluminum | Operating
Municipal
Tariff Lists |  |  | Active Tariff
PG&E | SCE | SDG&E | PG&E
A-1 | GS-1 |  | A-1
A-6 | GS-2 |  | A-6
A-10-S | GS-2-TOU-A |  | A-10-S
A-10-P | GS-2-TOU-R |  | A-10-P
A-10-T | RTP-2 |  | A-10-T
A-10 TOU-S | TOU-GS-1 |  | A-10 TOU-S
A-10 TOU-P | TOU-GS-3-A |  | A-10 TOU-P
A-10 TOU-T | TOU-GS-3-B |  | A-10 TOU-T
E-19-S | TOU-GS-3-R |  | E-19-S
E-19-P | TOU-8-A (<2kV) |  | E-19-P
E-19-T | TOU-8-B (<2kV) |  | E-19-T
TOU-8-R (<2kV)
Environmental Constants
CO2 lbs/kWh |  |  | Panel Mount Types
MEA |  |  | Ground
PG&E | 0.559 |  | Array Over Parking
SCE | 0.665 |  | Shade Structures
SDG&E | 0.915 |  | Roof Ballasted
Passenger Vehicle CO2/Year |  |  | Roof Racked
lbs CO2/Gal. | 19.643
Miles/yr | 12500 |  | Mounting types
MPG | 25 |  | Single Post, Single Cantilever
lbs CO2/car/yr | 9821.5 |  | Single Post, Double Cantalever
Trees |  |  | Multi-Post, non-Cantilever
lbs CO2/year/tree | 13
lbs CO2/year/acre | 5200