## Instructions
Judicial Council of California Proposed System Specification Form
Lists (sneaky)
Yes | Tie-In
No | NEMA
Instructions for completing Attachment C1
General instructions:
- Complete one AttC1 form for your proposal
- Fill in all yellow cells that pertain to your project.
- Do NOT alter gray cells. You may use unused cells for calculations.
- Instructions and notes for each worksheet are shown at the top of the worksheet.
- Some column headings have notes that explain what they mean. These are shown with a red triangle in the upper
right hand corner of the cell. Hold your cursor over the cell to see the explanation.
Suggested steps for completing AttC1:
1) Select the System Specification PV-Only tab and fill in all pertinent information for your proposal in the yellow cells.
2) Select the System Specification PV+BESS tab and fill in all pertinent information for your proposal in the yellow cells.
Questions regarding completing AttC1, the Project, or the RFP:
Questions concerning how to fill out AttC1 or those that pertain generally to the project, RFP or proposal must be emailed to the address specified in the RFP, BEFORE the due date and time for RFP question submission. Questions submitted after the published due date and time may not be answered.

## Site Data
#VALUE!
Judicial Council of California Proposed System Specification Form
[20 empty] | PV-Only | PV+BESS
Site Number | Site Name | Site ID | Service Address | Service Provider | Service Account ID | Meter ID | Current Tariff | Post-Construction Tariff | Tie-in or NEMA | Current Annual Electricity Usage (kWh) | Year 1 Target PV Production (kWh) | Minimum BESS Size (kW AC) | Minimum BESS Size (kWh) | Rooftop Solar Available | Roof Area to be Replaced (if Rooftop array included in design) (sqft) | Roof Material | Rooftop notes | PPA/SEL Term (yrs) | IA Status | Max PV Size | IA (PV kW AC) | IA (BESS kW AC) | Include
1 | Fremont Hall of Justice | 01-H1 | 39439 PASEO PADRE PKWY., FREMONT, CA 94538 | PG&E / EBCE | 4726262076 | 1009904834 | A-6 BrightChoice | A-6 BrightChoice | Tie-in | 816392.4 | 735000 | 189 | 559 | Yes | 52000 | Modified Bitumen | Roof replacement required if roof is used | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 724.5 | 210 | Yes
2 | Amador Superior Court | 03-C1 | 500 ARGONAUT LANE, JACKSON, CA 95642 | PG&E | 2232606688 | 1009483914 | B-10S | B-10S | Tie-in | 258370.56 | 233000 | 63 | 177 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 150 | 70 | Yes
3 | North Butte County Courthouse | 04-F1 | 1775 CONCORD AVENUE, CHICO, CA 95928 | PG&E | 5424348248 | 1009947618 | B-10S | B-10S | Tie-in | 992079 | 893000 | 315 | 680 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 550 | 350 | Yes
4 | Bray Courts | 07-A3 | 1020 WARD ST., MARTINEZ, CA 94553 | PG&E | 0010715483 | 9279R9 | B-10S | B-10S | Tie-in | 750125.2 | 675000 | 189 | 514 | Yes |  | Single Ply Roofing |  | 18 | Deemed Complete | <1 MW AC and ≤90% offset | 100 | 210 | Yes
5 | Richard E. Arnason Justice Center | 07-E3 | 1000 CENTER DRIVE, PITTSBURG, CA 94565 | PG&E / MCE | 8451993330 | 1010423032 | B-19S | B-19S Option R | Tie-in | 833400.9015 | 750000 | 189 | 571 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 550 | 210 | Yes
6 | Walnut Creek Courthouse | 07-C1 | 640 YGNACIO VALLEY RD., WALNUT CREEK, CA 94596 | PG&E / MCE | 8403814112 | 1009408792 | B-10S | B-10S | Tie-in | 183000.6 | 165000 | 63 | 125 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 133.2 | 70 | Yes
7 | B. F. Sisk Courthouse | 10-O1 | 1130 O ST., FRESNO, CA | PG&E | 9044461209 | 1010046598 | B-10S | B-10S | Tie-in | 1782103.6 | 1604000 | 378 | 1221 | Yes |  | Modified Bitumen | Post fall 2022 solar install after reroof by JCC | 20 | Submitted | <1 MW AC and ≤90% offset | 400 | 420 | Yes
8 | Imperial County Courthouse | 13-A1 | 939 W. MAIN ST., EL CENTRO, CA 92243 | IID | 50532739 50612077 | IID-2B6B-200136 IID-5DY3B-200590 | GS GL | GS GL / DG | Tie-in | 406200.0001 | 366000 | 45 | 180 |  |  |  |  | 20 | Not Submitted | <1 MW AC and ≤90% offset |  |  | Yes
9 | Delano/North Kern Court | 15-D1 | 1122 JEFFERSON ST., DELANO, CA 93215 | SCE | 3033678637 | 259000-074761 | TOU-GS-2-D-CPP | TOU-GS-2-E-CPP | Tie-in | 187932.5496 | 169000 | 63 | 129 | Yes |  | Modified Bitumen |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 99.9 | 70 | Yes
10 | Kings Superior Court | 16-A5 | 1640 KINGS COUNTY DRIVE, HANFORD, CA 93230 | SCE | 3043544311 | 259000-079230 | TOU-8-D | TOU-8-E | Tie-in | 2054349.8663 | 1849000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 700 | 280 | Yes
11 | Whittier Courthouse | 19-AO1 | 7339 PAINTER AVENUE, WHITTIER, CA 90602 | SCE / Clean Power Alliance | 8002609713 | 359150-006456 | TOU-GS-3-D | TOU-GS-3-E | Tie-in | 1475081.4012 | 1328000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 233.1 | 280 | Yes
12 | Santa Monica Courthouse | 19-AP1 | 1725 MAIN STREET, SANTA MONICA, CA 90401 | SCE / Clean Power Alliance | 8004206574 | V349P-006235 | TOU-GS-3-D | TOU-GS-3-E | Tie-in | 1835328.4812 | 1652000 | 315 | 1044 | Yes |  | Single ply |  | 18 | Deemed Complete | <1 MW AC and ≤90% offset | 350 | 350 | Yes
13 | Van Nuys Courthouse East | 19-AX1 | 6230 SYLMAR AVENUE, VAN NUYS, CA 91401 | LADWP | 6691517575 | 2293691 | A-3 | A-3 | Tie-in | 2120866.992 | 1909000 | 252 | 835 |  |  |  |  | 20 | Not Submitted |  |  |  | No
14 | Torrance Courthouse | 19-C1 | 825 MAPLE AVENUE, TORRANCE, CA 90503 | SCE | 8004206765 | V349P-000265 | TOU-GS-2-D-CPP | TOU-GS-2-E-CPP | Tie-in | 2738904.2412 | 2465000 | 567 | 1876 |  |  |  |  | 20 | Deemed Complete | 1500 | 1500 | 630 | Yes
15 | Glendale Courthouse | 19-H1 | 600 EAST BROADWAY, GLENDALE, CA 91206 | Glendale Water & Power | 32092880-02 | 250593 | LD2A2 | LD2A2 | Tie-in | 630337.28 | 567000 | 126 | 432 |  |  |  |  | 20 | Not Submitted | <1 MW AC and ≤90% offset |  |  | Yes
16 | Monrovia Training Center | 19-N1 | 300 W. MAPLE AVE., MONROVIA, CA 91016 | SCE | 8004193001 | 255000-001981 | TOU-GS-2-D-CPP | TOU-GS-2-E-CPP | Tie-in | 100657.532 | 91000 | 22.5 | 69 | Yes |  | Multiple |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 66.6 | 70 | Yes
17 | Edmund D. Edelman Children's Court | 19-Q1 | 201 CENTRE PLAZA DRIVE, MONTEREY PARK, CA 91754 | SCE | 8004169760 | V349P-001660 | TOU-8-D | TOU-8-E | Tie-in | 3100698.9612 | 2791000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 699.3 | 280 | Yes
18 | Hollywood Courthouse | 19-S1 | 5925 HOLLYWOOD BOULEVARD, LOS ANGELES, CA 90028 | LADWP | 1408407987 | 2255224 | A-2 | A-2 | Tie-in | 691281.819 | 622000 | 189 | 473 |  |  |  |  | 20 | Not Submitted | <1 MW AC and ≤90% offset |  |  | Yes
19 | Pomona Courthouse South | 19-W1 | 400 CIVIC CENTER PLAZA, POMONA, CA 91766 | SCE | 8004194714 | V349P-00637 | TOU-8-D | TOU-8-E | Tie-in | 2961747.0012 | 2666000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 700 | 280 | Yes
20 | The Robert M. Falasco Justice Center | 24-G1 | 1159 G STREET, LOS BANOS, CA 93635 | PG&E | 3423047368 | 1009515128 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 383417.6 | 345000 | 126 | 263 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 250 | 140 | Yes
21 | Mammoth Lakes Courthouse | 26-B2 | 100 THOMPSON WAY, MAMMOTH LAKES, CA 93546 | SCE | 8000263819 | 259000-062390 259000-090314 | TOU-GS-2-D | TOU-GS-2-E | Tie-in | 238125.9815 | 214000 | 63 | 163 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 133.2 | 70 | Yes
22 | Banning Justice Center | 33-G4 | 311 EAST RAMSEY, BANNING, CA 92220 | City of Banning | 85791-55378 | 16477E 35452E | Commercial | Commercial | Tie-in | 1137000 | 1023000 | 126 | 418 |  |  |  |  | 20 | Not Submitted | <1 MW AC and ≤90% offset |  |  | Yes
23 | San Benito County Superior Court | 35-C1 | 450 FOURTH STREET, HOLLISTER, CA 95023 | PG&E / CCCE | 2875021063 | 1010260264 | B-10S | B-10S | Tie-in | 476762.32 | 429000 | 126 | 327 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 333 | 140 | Yes
24 | San Bernardino Justice Center | 36-R1 | 247 WEST THIRD STREET, SAN BERNARDINO, CA 92415 | SCE | 8004862590 | V349N-018597 | TOU-8-D CPP | TOU-8-E CPP | Tie-in | 3007750.2012 | 2707000 | 252 | 835 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 700 | 280 | Yes
25 | Kearny Mesa Court | 37-C1 | 8950 CLAIREMONT MESA BLVD., SAN DIEGO, CA 92123 | SDG&E / SDCP | 0030646900830 | 06690564 | ALTOUCP2 AL-TOU-S | ALTOUCP2 DG-R | Tie-in | 573530.28 | 516000 | 126 | 351 | Yes |  | Modified Bitumen |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 350 | 140 | Yes
26 | East County Regional Center | 37-I1 | 250 E. MAIN ST., EL CAJON, CA 92020 | SDG&E | 0031438695083 | 06687284 | ALTOUCP2 AL-TOU-S | ALTOUCP2 DG-R | Tie-in | 3757483.65 | 3382000 | 378 | 1253 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 550 | 420 | Yes
27 | Northern Branch Courthouse | 41-C1 | 1050 MISSION RD., SOUTH SAN FRANCISCO, CA 94080 | PG&E / PCE | 7980429711 | 1009540401 | B-10S | B-10S | Tie-in | 401119.88 | 361000 | 63 | 275 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 150 | 70 | Yes
28 | Downtown Superior Court | 43-B1 | 191 N. FIRST ST., SAN JOSE, CA 95113 | PG&E / SJCE | 1862243249 | 0P1390 | B-19S | B-19S Option R | Tie-in | 2079047.03 | 1871000 | 315 | 726 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 333 | 350 | Yes
29 | Sutter County Superior Courthouse | 51-C1 | 1175 CIVIC CENTER BLVD., YUBA CITY, CA 95993 | PG&E | 3429640317 | 5000037342 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 1059942.3 | 954000 | 315 | 726 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 600 | 350 | Yes
30 | Tehama County Courthouse | 52-E1 | 1740 WALNUT STREET, RED BLUFF, CA 96080 | PG&E | 7120026238 | 1008843645 | B-10S, PDP, Solar Choice | B-10S, PDP, Solar Choice | Tie-in | 620107.5 | 558000 | 189 | 425 | Yes |  | Single ply membrane, TPO / PVC |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 350 | 210 | Yes
31 | South County Justice Center | 54-I1 | 300 EAST OLIVE AVENUE, PORTERVILLE, CA 93257 | SCE | 8000534833 | V349N-003192 | TOU-GS-3-D CPP | TOU-GS-3-E CPP | Tie-in | 1330880.6412 | 1198000 | 252 | 912 |  |  |  |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 700 | 280 | Yes
32 | Yolo Superior Court | 57-A10 | 1000 MAIN STREET, WOODLAND, CA 95695 | PG&E / VCEA | 6751141316 | 1010078999 | B-19S | B-19S Option R | Tie-in | 1377841.2 | 1240000 | 252 | 835 | Yes |  | Modified Bitumen |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 466.2 | 490 | Yes
33 | Santa Ana Courthouse | 64-E1 | 23 CIVIC CENTER PLZ, SANTA ANA, CA 92701 | SCE | 700540438271 | V349N-009045 | TOU-GS-2-D CPP | TOU-GS-2-E CPP | Tie-in | 563039.041 | 507000 | 126 | 385 | Yes |  | PVC |  | 20 | Deemed Complete | <1 MW AC and ≤90% offset | 100 | 145 | Yes
34 | Van Nuys Courthouse West | 19-AX2 | 14410 ERWIN ST, VAN NUYS, CA 91401 | LADWP | 3419994289 | 1APMYVL00231-00002851 | A-3 | A-3 | Tie-in | 3483546.78 | 3135000 | 252 | 835 |  |  |  |  | 20 | Not Submitted | <1 MW AC and ≤90% offset |  |  | Yes
[9 empty] | Project Totals | 42287585.7994 | 38061000 | 6682.5 | 20119
Notes:
Current Annual Electricity Usage (kWh) is based on the interval usage profiles for CY2019 where available. Dates are shown in interval data file.
Roof Area only listed for sites that shall include Roof Replacement Costs as a Project Development Cost if the rooftop is used. If Rooftop is not used do not include rooop replacement. Other rooftop systems do not include full roof replacement.
Some sites require a Solar Equipment Lease (SEL) rather than a PPA. Each Proposal sheet specifies which pricing is being requested.

## Existing Generator Details
#VALUE!
Judicial Council of California Proposed System Specification Form
Site Number | Site Name | Site ID | Include | Onsite Emergency Generator (Y/N) | Onsite Generator Location | Onsite Generator Manufacturer | Onsite Generator Model | Onsite Generator Serial Number | Generator In Service Date | Generator HP | Generator Voltage | Generator Amps | Generator Fuel Type | Generator Phase | Generator Notes | Generator Floor Number | Generator Room Number | Generator Room Description | Generator Drawing Location | Generator Manual Location | Generator Permit To Operate | Generator Permitting Agency
1 | Fremont Hall of Justice | 01-H1 | Yes | Y | Floor 4, Boiler Room | Kohler | 100RO271 | 482095 | 27760 | 180 | 480 | NA | Diesel | 3 | Diesel engine: White Model NA, serial number 4003796, 478 cu. in. | ALL | Boiler Room | Floor 4, Boiler Room | Air Compressor room | Maintenance Office | YES | Bay Area AQMD
2 | Amador Superior Court | 03-C1 | Yes | Y | Parking Lot | Kohler | D1DOPEOZJC | 2140144 | 39249 | 157 | 120/240 | DNA | Diesel | 3 Ph, 60 Hz | Diesel Engine: John Deere Model 4045HF275, Block Serial Number PE4045H634573, 200 Gallon Diesel Tank Permit requirements: Maintenance & testing operations limit = 50 hours. Annual submission of hours of operation for maintenance and testing, total hours of operation, type and quantity of fuel, end-of-year hours meter reading Diesel belly tank: 200 gallons anti freeze = 4 gal | Exterior | NA | Parking Lot | Electrical Room | Electrical Room | YES | Amador County APCD
3 | North Butte County Courthouse | 04-F1 | Yes | Y | Exterior Chiller Yard | Generac | SD500 | SD500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | Bray Courts | 07-A3 | Yes | Y | Roof | Empire Generator Corp. | 600DKW-8E | 371-298 | 31413 | 110 | 277/480 | 90 | Diesel | 3 | Diesel engine: Perkins Model 3711404A-1, Serial Number 36811443 Diesel belly tank: 60 gallons. | Roof | Roof | Roof | DNA | DNA | YES | Bay Area AQMD
5 | Richard E. Arnason Justice Center | 07-E3 | Yes | Y | EXTERIOR | CUMMINS | DFEH-44600033 | E100117640 | 40497 | 755 | 460 | DNA | Diesel | 3 | 400KW. Diesel engine: Cummins Model QSX15-G9 Nonroad 2, year = 2010, serial number = NA Diesel belly tank: 660 gallons. | Exterior | NORTHWEST QUADRANT | EXTERIOR | MAINTENANCE OFFICE | MAINTENANCE OFFICE | Yes | Bay Area AQMD
6 | Walnut Creek Courthouse | 07-C1 | Yes | Y | East / Behind Sally Port | Onan | 6.0 Genset | DNA | 1 | 16.5 | 480 | DNA | Diesel | 3 | No Tag No Bay Area AQMD permit because HP < 50 Diesel engine: NA Model NA_ Diesel belly tank: 8 gallons | 0 | Cage | East / Behind Sally Port | DNA | DNA | No | Bay Area AQMD
7 | B. F. Sisk Courthouse | 10-O1 | Yes | Y | Emergency Generator Room | Caterpillar | Model 3406 | 8ER03434 | 40534 | 599 | 480 | 527 | Diesel | 0 | Phase = (3 WYE), Oil Filter - 1R-0716 (CAT), Fuel Filter - 1R-0749 (CAT), Air Cleaner Filter Panel - 4N-0015-CAT, Hydraulic Filter PS50251 (Donaldson) Diesel engine: Caterpillar Model 3406 | Basement | B80 | Emergency Generator Room | DNA | DNA | Yes | San Joaquin Valley APCD
8 | Imperial County Courthouse | 13-A1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | Delano/North Kern Court | 15-D1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | Kings Superior Court | 16-A5 | Yes | Y | 1st Flr. Cetral Plant Generator Enclosure | Caterpillar | C27 | CAT00C27KGDS00553 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | Whittier Courthouse | 19-AO1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | Santa Monica Courthouse | 19-AP1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | Van Nuys Courthouse East | 19-AX1 | No | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | Torrance Courthouse | 19-C1 | Yes | Y | Lower Level Chiller Room. MECHANICAL ROOM | Onan Electric | 45DEF-4XR8/1B | 36C87569 | 24473 | 87 | 480 | 60 | Diesel | 3 | 1800 rpm . VERIFIED 10-25-11 Diesel engine: Ford Model 45DEF4XR8/AB, Serial number 36C875691. | Basement | MECHANICAL ROOM ADJACENT TO ADMINISTRATION ROOM | Lower Level Chiller Room. MECHANICAL ROOM | MECHANICAL ROOM | None | Yes | South Coast AQMD
15 | Glendale Courthouse | 19-H1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | Monrovia Training Center | 19-N1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | Edmund D. Edelman Children's Court | 19-Q1 | Yes | Y | Generator Room | Caterpillar | SR4 | 5TD01013 | 33604 | 1575 | 480 | 1654 | Diesel | 3 | Diesel engine: Caterpillar Model 3512-DITA, Serial number 24Z03826, 12 cylinder. RPM 1800, Frame 687, KVA 1100. | Floor 1 | Generator Room | Generator Room | DNA | DNA | Yes | South Coast AQMD
18 | Hollywood Courthouse | 19-S1 | Yes | Y | Roof Generator Room | Cummins | DSFAA-7280169 | K080219614 | 41022 | 66 | DNA | DNA | Diesel | DNA | Retired: Replaced by GEN02 ABM ADS 8/2014 | Roof | NA | EAST SIDE | DNA | DNA | Yes | SQMD ID# 127781, PERMIT#41485, A/N 385014
19 | Pomona Courthouse South | 19-W1 | Yes | Y | OPEN TUNNEL AREA | ONAN | 220DFM-4XR8/5489B | 960916976 | 24838 | 312 | 480 | DNA | diesel | 3 | Diesel engine: Cummins Model NTA 400 IPG, Serial number 530957. Belts: TR28522 (2), TR22373 (1), 17A1110 (1), Filters Kohler 279260 (1), Wix Filter 51243 (1) | Basement | BASEMENT | OPEN TUNNEL AREA | M-1A | DNA | Yes | South Coast AQMD
20 | The Robert M. Falasco Justice Center | 24-G1 | Yes | Y | East Side of Grounds in Generator Area | Iveco | F3AE9685A-E | 9906865 | 42502 | 449 | 408 | NA | Diesel | NA | Diesel engine: Iveco/FPT Model F3AE9685A-E (Tier 3 Certified). Diesel belly tank: 450 gallons 375 KVA" | Grounds | East Side of Grounds in Generator Area | East Side of Grounds in Generator Area | Mech Office | Mech Office | Yes | San Joaquin Valley APCD
21 | Mammoth Lakes Courthouse | 26-B2 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
22 | Banning Justice Center | 33-G4 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
23 | San Benito County Superior Court | 35-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
24 | San Bernardino Justice Center | 36-R1 | Yes | Y | GROUNDS | STAMFORD | NA | DQGAB-1324752 | 41640 | 2650 | 480 | 2273.4 | Diesel | DNA | Diesel engine: Cummins Model QSK50-G4, Serial number 50264 Diesel belly tank: 850 gallons. Updated serial number to DQGAB-1324752 11/15 ADS | Grounds | GROUNDS | GROUNDS | DNA | DNA | Yes | South Coast AQMD
25 | Kearny Mesa Court | 37-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
26 | East County Regional Center | 37-I1 | Yes | Y | 176 | Cummins Onan | DFED-3380102 | I990992837 | 2002 | 755 | 480 | 500 kW (input Bob Perkins 5/25/2016) | Diesel | 3 | BACK UP GENERATOR Diesel engine: Cummins Model KTA19-G4, Serial 65306. Date MFG 09/99 | Basement | Main Plant | 176 | MAINTENACE SHOP | MAINTENANCE SHOP | Yes | San Diego County APCD
27 | Northern Branch Courthouse | 41-C1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
28 | Downtown Superior Court | 43-B1 | Yes | Y | TBD | TBD | TBD | TBD | 40291 | DNA | 188000 | 226 | Electric | 3 | generator serves bot 43-B1 ans 43-B2 | Grounds | Grounds | south side of building in fenced enclosure | fenced enclosure | DNA | Yes | Bay Area Air Quality Management District
29 | Sutter County Superior Courthouse | 51-C1 | Yes | Y | Generator Yard | Onsite Energy | DS500D6SRA | 130901044-010010 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
30 | Tehama County Courthouse | 52-E1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
31 | South County Justice Center | 54-I1 | Yes | Y | Generator Compound | Caterpillar | LC7 Generator | G7A04207 | 25568 | 900 | 480 | DNA | Diesel | 3 | LC7/C18 gen-set produces 750 KVA / 600KW Diesel engine: Caterpillar Model C18, Serial number FST00761 Permit requirements: Reliability-related testing shall not exceed 50 hours per year. Diesel belly tank: 500 gallons. | Exterior | Judges Parking Area | Generator Compound | DNA | DNA | Yes | San Joaquin Valley APCD
32 | Yolo Superior Court | 57-A10 | Yes | Y | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD
33 | Santa Ana Courthouse | 64-E1 | Yes | N | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
34 | Van Nuys Courthouse West | 19-AX2 | Yes | Y | Basement Generator Room | DETROIT DIESEL | 81637405 | 6H05713 | 32509 | 1094 | 480 | 1127.6 | Diesel | 3 | Diesel engine: Detroit Diesel Model 81637405, Serial number 16VF006793. | Basement | DNA | GENERATOR ROOM | DNA | DNA | Yes | South Coast AQMD

## System Specification PV-Only
DO NOT DELETE | DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. 2) If no value is proposed leave cell blank. 3) Do not alter gray cells.
#VALUE!
Judicial Council of California Proposed System Specification Form
Proposing Company Name:
System Specification
SOLAR PV SPECIFICATIONS
[7 empty] | PV Module Specification |  |  |  |  | Inverter Specification
DO NOT DELETE | Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Minimum BESS Size (kW / kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio
1 | 1 | Fremont Hall of Justice | 01-H1 | Yes | 735000 | 189 / 559 |  |  |  |  | 0 | [5 empty] | 0
2 | 2 | Amador Superior Court | 03-C1 | Yes | 233000 | 63 / 177 |  |  |  |  | 0 | [5 empty] | 0
3 | 3 | North Butte County Courthouse | 04-F1 | Yes | 893000 | 315 / 680 |  |  |  |  | 0 | [5 empty] | 0
4 | 4 | Bray Courts | 07-A3 | Yes | 675000 | 189 / 514 |  |  |  |  | 0 | [5 empty] | 0
5 | 5 | Richard E. Arnason Justice Center | 07-E3 | Yes | 750000 | 189 / 571 |  |  |  |  | 0 | [5 empty] | 0
6 | 6 | Walnut Creek Courthouse | 07-C1 | Yes | 165000 | 63 / 125 |  |  |  |  | 0 | [5 empty] | 0
7 | 7 | B. F. Sisk Courthouse | 10-O1 | Yes | 1604000 | 378 / 1221 |  |  |  |  | 0 | [5 empty] | 0
8 | 8 | Imperial County Courthouse | 13-A1 | Yes | 366000 | 45 / 180 |  |  |  |  | 0 | [5 empty] | 0
9 | 9 | Delano/North Kern Court | 15-D1 | Yes | 169000 | 63 / 129 |  |  |  |  | 0 | [5 empty] | 0
10 | 10 | Kings Superior Court | 16-A5 | Yes | 1849000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
11 | 11 | Whittier Courthouse | 19-AO1 | Yes | 1328000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
12 | 12 | Santa Monica Courthouse | 19-AP1 | Yes | 1652000 | 315 / 1044 |  |  |  |  | 0 | [5 empty] | 0
13 | 13 | Van Nuys Courthouse East | 19-AX1 | No | 1909000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
14 | 14 | Torrance Courthouse | 19-C1 | Yes | 2465000 | 567 / 1876 |  |  |  |  | 0 | [5 empty] | 0
15 | 15 | Glendale Courthouse | 19-H1 | Yes | 567000 | 126 / 432 |  |  |  |  | 0 | [5 empty] | 0
16 | 16 | Monrovia Training Center | 19-N1 | Yes | 91000 | 22.5 / 69 |  |  |  |  | 0 | [5 empty] | 0
17 | 17 | Edmund D. Edelman Children's Court | 19-Q1 | Yes | 2791000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
18 | 18 | Hollywood Courthouse | 19-S1 | Yes | 622000 | 189 / 473 |  |  |  |  | 0 | [5 empty] | 0
19 | 19 | Pomona Courthouse South | 19-W1 | Yes | 2666000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
20 | 20 | The Robert M. Falasco Justice Center | 24-G1 | Yes | 345000 | 126 / 263 |  |  |  |  | 0 | [5 empty] | 0
21 | 21 | Mammoth Lakes Courthouse | 26-B2 | Yes | 214000 | 63 / 163 |  |  |  |  | 0 | [5 empty] | 0
22 | 22 | Banning Justice Center | 33-G4 | Yes | 1023000 | 126 / 418 |  |  |  |  | 0 | [5 empty] | 0
23 | 23 | San Benito County Superior Court | 35-C1 | Yes | 429000 | 126 / 327 |  |  |  |  | 0 | [5 empty] | 0
24 | 24 | San Bernardino Justice Center | 36-R1 | Yes | 2707000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
25 | 25 | Kearny Mesa Court | 37-C1 | Yes | 516000 | 126 / 351 |  |  |  |  | 0 | [5 empty] | 0
26 | 26 | East County Regional Center | 37-I1 | Yes | 3382000 | 378 / 1253 |  |  |  |  | 0 | [5 empty] | 0
27 | 27 | Northern Branch Courthouse | 41-C1 | Yes | 361000 | 63 / 275 |  |  |  |  | 0 | [5 empty] | 0
28 | 28 | Downtown Superior Court | 43-B1 | Yes | 1871000 | 315 / 726 |  |  |  |  | 0 | [5 empty] | 0
29 | 29 | Sutter County Superior Courthouse | 51-C1 | Yes | 954000 | 315 / 726 |  |  |  |  | 0 | [5 empty] | 0
30 | 30 | Tehama County Courthouse | 52-E1 | Yes | 558000 | 189 / 425 |  |  |  |  | 0 | [5 empty] | 0
31 | 31 | South County Justice Center | 54-I1 | Yes | 1198000 | 252 / 912 |  |  |  |  | 0 | [5 empty] | 0
| 32 | Yolo Superior Court | 57-A10 | Yes | 1240000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
| 33 | Santa Ana Courthouse | 64-E1 | Yes | 507000 | 126 / 385 |  |  |  |  | 0 | [5 empty] | 0
32 | 34 | Van Nuys Courthouse West | 19-AX2 | Yes | 3135000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
[10 empty] | Project Totals | 0 |  |  |  |  | 0 | 0

## System Specification PV+BESS
DO NOT DELETE | DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. 2) If no value is proposed leave cell blank. 3) Do not alter gray cells.
#VALUE!
Judicial Council of California Proposed System Specification Form
Proposing Company Name:
System Specification
[7 empty] | SOLAR PV SPECIFICATIONS | [10 empty] | BESS/MICROGRID SPECIFICATIONS
[7 empty] | PV Module Specification |  |  |  |  | Inverter Specification | [5 empty] | BESS Details |  |  |  | SGIP | Migrogrid Details
DO NOT DELETE | Site Number | Site Name | Site ID | Include | Year 1 Target PV Production (kWh) | Minimum BESS Size (kW / kWh) | Manufacturer | Model No | DC STC Rating (Watts) | Module Quantity | PV Total DC System Size (kW-DC) | Manufacturer | Model No | Inverter Rating Range (kW-AC) (e.g. 36 kW-50 kW) | Inverter Quantity | PV Total AC System Size (kW-AC) | DC/AC Ratio | BESS Provider | Battery Manufacturer | Control System/Software Provider | Total Footprint Req'd (sqft) | SGIP Reservation Details Assumed (Step, Type) | Management System Provider | Management System Manufacturer | Power Conversion System Provider | Power Conversion System Manufacturer | Controller Provider | Controller Manufacturer
1 | 1 | Fremont Hall of Justice | 01-H1 | Yes | 735000 | 189 / 559 |  |  |  |  | 0 | [5 empty] | 0
2 | 2 | Amador Superior Court | 03-C1 | Yes | 233000 | 63 / 177 |  |  |  |  | 0 | [5 empty] | 0
3 | 3 | North Butte County Courthouse | 04-F1 | Yes | 893000 | 315 / 680 |  |  |  |  | 0 | [5 empty] | 0
4 | 4 | Bray Courts | 07-A3 | Yes | 675000 | 189 / 514 |  |  |  |  | 0 | [5 empty] | 0
5 | 5 | Richard E. Arnason Justice Center | 07-E3 | Yes | 750000 | 189 / 571 |  |  |  |  | 0 | [5 empty] | 0
6 | 6 | Walnut Creek Courthouse | 07-C1 | Yes | 165000 | 63 / 125 |  |  |  |  | 0 | [5 empty] | 0
7 | 7 | B. F. Sisk Courthouse | 10-O1 | Yes | 1604000 | 378 / 1221 |  |  |  |  | 0 | [5 empty] | 0
8 | 8 | Imperial County Courthouse | 13-A1 | Yes | 366000 | 45 / 180 |  |  |  |  | 0 | [5 empty] | 0
9 | 9 | Delano/North Kern Court | 15-D1 | Yes | 169000 | 63 / 129 |  |  |  |  | 0 | [5 empty] | 0
10 | 10 | Kings Superior Court | 16-A5 | Yes | 1849000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
11 | 11 | Whittier Courthouse | 19-AO1 | Yes | 1328000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
12 | 12 | Santa Monica Courthouse | 19-AP1 | Yes | 1652000 | 315 / 1044 |  |  |  |  | 0 | [5 empty] | 0
13 | 13 | Van Nuys Courthouse East | 19-AX1 | No | 1909000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
14 | 14 | Torrance Courthouse | 19-C1 | Yes | 2465000 | 567 / 1876 |  |  |  |  | 0 | [5 empty] | 0
15 | 15 | Glendale Courthouse | 19-H1 | Yes | 567000 | 126 / 432 |  |  |  |  | 0 | [5 empty] | 0
16 | 16 | Monrovia Training Center | 19-N1 | Yes | 91000 | 22.5 / 69 |  |  |  |  | 0 | [5 empty] | 0
17 | 17 | Edmund D. Edelman Children's Court | 19-Q1 | Yes | 2791000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
18 | 18 | Hollywood Courthouse | 19-S1 | Yes | 622000 | 189 / 473 |  |  |  |  | 0 | [5 empty] | 0
19 | 19 | Pomona Courthouse South | 19-W1 | Yes | 2666000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
20 | 20 | The Robert M. Falasco Justice Center | 24-G1 | Yes | 345000 | 126 / 263 |  |  |  |  | 0 | [5 empty] | 0
21 | 21 | Mammoth Lakes Courthouse | 26-B2 | Yes | 214000 | 63 / 163 |  |  |  |  | 0 | [5 empty] | 0
22 | 22 | Banning Justice Center | 33-G4 | Yes | 1023000 | 126 / 418 |  |  |  |  | 0 | [5 empty] | 0
23 | 23 | San Benito County Superior Court | 35-C1 | Yes | 429000 | 126 / 327 |  |  |  |  | 0 | [5 empty] | 0
24 | 24 | San Bernardino Justice Center | 36-R1 | Yes | 2707000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
25 | 25 | Kearny Mesa Court | 37-C1 | Yes | 516000 | 126 / 351 |  |  |  |  | 0 | [5 empty] | 0
26 | 26 | East County Regional Center | 37-I1 | Yes | 3382000 | 378 / 1253 |  |  |  |  | 0 | [5 empty] | 0
27 | 27 | Northern Branch Courthouse | 41-C1 | Yes | 361000 | 63 / 275 |  |  |  |  | 0 | [5 empty] | 0
28 | 28 | Downtown Superior Court | 43-B1 | Yes | 1871000 | 315 / 726 |  |  |  |  | 0 | [5 empty] | 0
29 | 29 | Sutter County Superior Courthouse | 51-C1 | Yes | 954000 | 315 / 726 |  |  |  |  | 0 | [5 empty] | 0
30 | 30 | Tehama County Courthouse | 52-E1 | Yes | 558000 | 189 / 425 |  |  |  |  | 0 | [5 empty] | 0
31 | 31 | South County Justice Center | 54-I1 | Yes | 1198000 | 252 / 912 |  |  |  |  | 0 | [5 empty] | 0
| 32 | Yolo Superior Court | 57-A10 | Yes | 1240000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
| 33 | Santa Ana Courthouse | 64-E1 | Yes | 507000 | 126 / 385 |  |  |  |  | 0 | [5 empty] | 0
32 | 34 | Van Nuys Courthouse West | 19-AX2 | Yes | 3135000 | 252 / 835 |  |  |  |  | 0 | [5 empty] | 0
[10 empty] | Project Totals | 0 |  |  |  |  | 0 | 0 |  |  |  | 0

## Cash Purchase Proposal (hidden)
DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. 2) Cash Purchase Price for all sites should be inclusive of all project development and permitting costs, including: - Complete architectural, electrical, structural, civil, landscape, geotechnical, and mechanical design and engineering services, including calculations, diagrams, specifications and stamped drawings as required for regulatory approval for installation and construction of all equipment and structures necessary for a complete interconnected and operational solar PV system per Attachment A1 - Design-Build Contract. 3) Cash Purchase Price should reflect the price prior to factoring in any incentives or tax credits. 4) If no value is proposed leave cell blank. 5) Do not alter gray cells.
#VALUE!
#REF!
Proposing Company Name: | #REF!
System Cost Proposal
Site Details |  |  | Single Site |  | Bundled (33-Site) |  | Percent Savings with Bundled Proposal (%) | O&M |  |  | Peformance Guarantee
Site Number | Site Name | System Size (kWp) | Cash Purchase Price* ($) | Unit Cost ($/Watt) | Cash Purchase Price* ($) | Unit Cost ($/Watt) |  | First Year O&M Cost | Annual O&M % Escalator | O&M Duration (minimum 5 years) | First Year PeGu Cost | Annual PeGu Escalator % | PeGu Duration (minimum 5 years) | Production Guarantee (% of Expected Production, min 90%) | True-up Term (Max 5 years)
1 | Fremont Hall of Justice | #REF!
2 | Amador Superior Court | #REF!
3 | North Butte County Courthouse | #REF!
4 | Bray Courts | #REF!
5 | Richard E. Arnason Justice Center | #REF!
6 | Walnut Creek Courthouse | #REF!
7 | B. F. Sisk Courthouse | #REF!
8 | Imperial County Courthouse | #REF!
9 | Delano/North Kern Court | #REF!
10 | Kings Superior Court | #REF!
11 | Whittier Courthouse | #REF!
12 | Santa Monica Courthouse | #REF!
13 | Van Nuys Courthouse East | #REF!
14 | Torrance Courthouse | #REF!
15 | Glendale Courthouse | #REF!
16 | Monrovia Training Center | #REF!
17 | Edmund D. Edelman Children's Court | #REF!
18 | Hollywood Courthouse | #REF!
19 | Pomona Courthouse South | #REF!
20 | The Robert M. Falasco Justice Center | #REF!
21 | Mammoth Lakes Courthouse | #REF!
22 | Banning Justice Center | #REF!
23 | San Benito County Superior Court | #REF!
24 | San Bernardino Justice Center | #REF!
25 | Kearny Mesa Court | #REF!
26 | East County Regional Center | #REF!
27 | Northern Branch Courthouse | #REF!
28 | Downtown Superior Court | #REF!
29 | Sutter County Superior Courthouse | #REF!
30 | Tehama County Courthouse | #REF!
31 | South County Justice Center | #REF!
32 | Yolo Superior Court | #REF!
|  | #REF! | 0 |  | 0 |  |  | 0 |  |  | 0
Notes:
* Cash Purchase Price prior to incentives or tax credits

## PPA Proposal 0% Esc (hidden)
DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. Proposers must provide a Power Purchase Price and Contract Termination Value for at least as many years as assumed in the Assumptions Table. 2) Base PPA Proposal must include zero annual escalator. 3) PPA pricing for each site must include all Project Development Costs shown in the Project Development Costs Assumptions Table. 4) Proposers must include a Buyout Option Price at Year-7 and a second Buyout Option Price between Year-10 and Year-15. Proposers may provide Buyout Option Prices in additional years. 5) Proposers must include a include PPA Price Adjustment per $25,000 Change from Assumed Project Development Costs for both ITC-eligible and non-ITC-eligble costs for the portfolio. These PPA Price Adjustments will also be utilized to adjust PPA Price resulting from approved Change Orders. 6) PPA price adjustments apply to the entire portfolio if the project development costs alter by $25,000. 7) Do not alter gray cells. 8) If no value is proposed leave cell blank.
#VALUE!
#REF!
| Proposing Company Name: |  | #REF!
Project Development Costs Assumptions Table
| Description |  |  | Responsible Party | Value | Include in Cost Proposal |  | Notes
| DSA Inspector of Record (IOR), special inspections & testing |  |  | District reimbursed | 335000 | Yes |  | District will contract DSA IOR(s), inspections, and testing. Selected firm to coordinate DSA special inspections and testing. Proposer to reimburse District per schedule shown in Att. C1.
| District Legal Counsel Fees |  |  | District reimbursed | 55000 | Yes |  | District will contract. Proposer to reimburse District per schedule shown in Att. C1.
| Consultant Fees |  |  | District reimbursed | 180000 | Yes |  | District will contract. Proposer to reimburse District per schedule shown in Att. C1.
| ADA Upgrades (Within canopy footprint) |  |  | Proposer | Proposer Estimate | Yes |  | All ADA design/permitting costs. All upgrade costs within canopy footprint.
| ADA Upgrades (Not within canopy footprint) |  |  | District | N/A | No |  | ADA upgrade construction costs outside of the canopy footprint.
| Interconnection (Standard/Identified/Inferable) |  |  | Proposer | Proposer Estimate | Yes |  | Routine and identifiable costs to interconnect with main service at each site. Costs should include any potential Utility transformer needed to support proposed system capacity based on the transformer kVA ratings identified in the RFP, and other readily inferable interconnection costs.
| Interconnection (Utility-side/Not-inferable) |  |  | Proposer | 92000 | Yes |  | Utility-side improvements (e.g. transmission or distribution upgrades) not readily inferable from RFP info. Major improvements to services not identified or inferable from RFP information. Included value based on Fast Track Review from SCE in January 2020 for San Gabriel High School.
| CEQA |  |  | District | N/A | No |  | CEQA consultant and filing fees. District will be the lead agency in filing CEQA notices.
| CEQA Mitigation |  |  | Proposer | 0 | Yes |  | CEQA mitigation is not expected for this project, however if any measures arise, contractor will be responsible for implementing them.
| Geotech & California Geological Survey (CGS) |  |  | Proposer | Proposer Estimate | Yes |  | Proposer to pay for all costs associated with CGS submittal as-needed.
| Division of the State Architect (DSA) |  |  | Proposer | Proposer Estimate | Yes |  | All design, permitting, construction requirements, and close-out costs.
| Fire Department Fees |  |  | Proposer | Proposer Estimate | Yes |  | Proposer to obtain permits and pay for all required permitting costs.
| Any other required permitting |  |  | Proposer | Proposer Estimate | Yes |  | Proposer to obtain permits and pay for all required permitting costs.
| Total Assumed Project Development Costs |  |  | Proposer | 662000 | Yes |  | PPA pricing to be based on Total Project Development Cost Assumptions. Final PPA pricing will be adjusted based on actual Total Project Development Costs and the corresponding PPA Price Adjustment per $25,000 change from Total Assumed Project Development Costs.
PPA Price Adjustment per $25,000 Change from Assumed Project Development Costs (ITC-Eligible)
PPA Price Adjustment per $25,000 Change from Assumed Project Development Costs (Non-ITC-Eligible)
Base PPA Cost Table
Assumptions Table
Sites/Row | Term | 25 | Escalation | 0%
3
Site # | Fremont Hall of Justice PPA | [5 empty] | Amador Superior Court PPA |  |  |  |  | North Butte County Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
1 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
1 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
1 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
1 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
1 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
1 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
1 | 7 | [5 empty] | 7 |  |  |  |  | 7
1 | 8 | [5 empty] | 8 |  |  |  |  | 8
1 | 9 | [5 empty] | 9 |  |  |  |  | 9
2 | 10 | [5 empty] | 10 |  |  |  |  | 10
2 | 11 | [5 empty] | 11 |  |  |  |  | 11
2 | 12 | [5 empty] | 12 |  |  |  |  | 12
2 | 13 | [5 empty] | 13 |  |  |  |  | 13
2 | 14 | [5 empty] | 14 |  |  |  |  | 14
2 | 15 | [5 empty] | 15 |  |  |  |  | 15
2 | 16 | [5 empty] | 16 |  |  |  |  | 16
2 | 17 | [5 empty] | 17 |  |  |  |  | 17
2 | 18 | [5 empty] | 18 |  |  |  |  | 18
3 | 19 | [5 empty] | 19 |  |  |  |  | 19
3 | 20 | [5 empty] | 20 |  |  |  |  | 20
3 | 21 | [5 empty] | 21 |  |  |  |  | 21
3 | 22 | [5 empty] | 22 |  |  |  |  | 22
3 | 23 | [5 empty] | 23 |  |  |  |  | 23
3 | 24 | [5 empty] | 24 |  |  |  |  | 24
3 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Bray Courts PPA | [5 empty] | Richard E. Arnason Justice Center PPA |  |  |  |  | Walnut Creek Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
4 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
4 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
4 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
4 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
4 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
4 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
4 | 7 | [5 empty] | 7 |  |  |  |  | 7
4 | 8 | [5 empty] | 8 |  |  |  |  | 8
4 | 9 | [5 empty] | 9 |  |  |  |  | 9
5 | 10 | [5 empty] | 10 |  |  |  |  | 10
5 | 11 | [5 empty] | 11 |  |  |  |  | 11
5 | 12 | [5 empty] | 12 |  |  |  |  | 12
5 | 13 | [5 empty] | 13 |  |  |  |  | 13
5 | 14 | [5 empty] | 14 |  |  |  |  | 14
5 | 15 | [5 empty] | 15 |  |  |  |  | 15
5 | 16 | [5 empty] | 16 |  |  |  |  | 16
5 | 17 | [5 empty] | 17 |  |  |  |  | 17
5 | 18 | [5 empty] | 18 |  |  |  |  | 18
6 | 19 | [5 empty] | 19 |  |  |  |  | 19
6 | 20 | [5 empty] | 20 |  |  |  |  | 20
6 | 21 | [5 empty] | 21 |  |  |  |  | 21
6 | 22 | [5 empty] | 22 |  |  |  |  | 22
6 | 23 | [5 empty] | 23 |  |  |  |  | 23
6 | 24 | [5 empty] | 24 |  |  |  |  | 24
6 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | B. F. Sisk Courthouse PPA | [5 empty] | Imperial County Courthouse PPA |  |  |  |  | Delano/North Kern Court PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
7 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
7 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
7 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
7 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
7 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
7 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
7 | 7 | [5 empty] | 7 |  |  |  |  | 7
7 | 8 | [5 empty] | 8 |  |  |  |  | 8
7 | 9 | [5 empty] | 9 |  |  |  |  | 9
8 | 10 | [5 empty] | 10 |  |  |  |  | 10
8 | 11 | [5 empty] | 11 |  |  |  |  | 11
8 | 12 | [5 empty] | 12 |  |  |  |  | 12
8 | 13 | [5 empty] | 13 |  |  |  |  | 13
8 | 14 | [5 empty] | 14 |  |  |  |  | 14
8 | 15 | [5 empty] | 15 |  |  |  |  | 15
8 | 16 | [5 empty] | 16 |  |  |  |  | 16
8 | 17 | [5 empty] | 17 |  |  |  |  | 17
8 | 18 | [5 empty] | 18 |  |  |  |  | 18
9 | 19 | [5 empty] | 19 |  |  |  |  | 19
9 | 20 | [5 empty] | 20 |  |  |  |  | 20
9 | 21 | [5 empty] | 21 |  |  |  |  | 21
9 | 22 | [5 empty] | 22 |  |  |  |  | 22
9 | 23 | [5 empty] | 23 |  |  |  |  | 23
9 | 24 | [5 empty] | 24 |  |  |  |  | 24
9 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Kings Superior Court PPA | [5 empty] | Whittier Courthouse PPA |  |  |  |  | Santa Monica Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
10 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
10 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
10 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
10 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
10 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
10 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
10 | 7 | [5 empty] | 7 |  |  |  |  | 7
10 | 8 | [5 empty] | 8 |  |  |  |  | 8
10 | 9 | [5 empty] | 9 |  |  |  |  | 9
11 | 10 | [5 empty] | 10 |  |  |  |  | 10
11 | 11 | [5 empty] | 11 |  |  |  |  | 11
11 | 12 | [5 empty] | 12 |  |  |  |  | 12
11 | 13 | [5 empty] | 13 |  |  |  |  | 13
11 | 14 | [5 empty] | 14 |  |  |  |  | 14
11 | 15 | [5 empty] | 15 |  |  |  |  | 15
11 | 16 | [5 empty] | 16 |  |  |  |  | 16
11 | 17 | [5 empty] | 17 |  |  |  |  | 17
11 | 18 | [5 empty] | 18 |  |  |  |  | 18
12 | 19 | [5 empty] | 19 |  |  |  |  | 19
12 | 20 | [5 empty] | 20 |  |  |  |  | 20
12 | 21 | [5 empty] | 21 |  |  |  |  | 21
12 | 22 | [5 empty] | 22 |  |  |  |  | 22
12 | 23 | [5 empty] | 23 |  |  |  |  | 23
12 | 24 | [5 empty] | 24 |  |  |  |  | 24
12 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Van Nuys Courthouse East PPA | [5 empty] | Torrance Courthouse PPA |  |  |  |  | Glendale Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
13 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
13 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
13 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
13 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
13 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
13 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
13 | 7 | [5 empty] | 7 |  |  |  |  | 7
13 | 8 | [5 empty] | 8 |  |  |  |  | 8
13 | 9 | [5 empty] | 9 |  |  |  |  | 9
14 | 10 | [5 empty] | 10 |  |  |  |  | 10
14 | 11 | [5 empty] | 11 |  |  |  |  | 11
14 | 12 | [5 empty] | 12 |  |  |  |  | 12
14 | 13 | [5 empty] | 13 |  |  |  |  | 13
14 | 14 | [5 empty] | 14 |  |  |  |  | 14
14 | 15 | [5 empty] | 15 |  |  |  |  | 15
14 | 16 | [5 empty] | 16 |  |  |  |  | 16
14 | 17 | [5 empty] | 17 |  |  |  |  | 17
14 | 18 | [5 empty] | 18 |  |  |  |  | 18
15 | 19 | [5 empty] | 19 |  |  |  |  | 19
15 | 20 | [5 empty] | 20 |  |  |  |  | 20
15 | 21 | [5 empty] | 21 |  |  |  |  | 21
15 | 22 | [5 empty] | 22 |  |  |  |  | 22
15 | 23 | [5 empty] | 23 |  |  |  |  | 23
15 | 24 | [5 empty] | 24 |  |  |  |  | 24
15 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Monrovia Training Center PPA | [5 empty] | Edmund D. Edelman Children's Court PPA |  |  |  |  | Hollywood Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
16 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
16 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
16 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
16 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
16 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
16 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
16 | 7 | [5 empty] | 7 |  |  |  |  | 7
16 | 8 | [5 empty] | 8 |  |  |  |  | 8
16 | 9 | [5 empty] | 9 |  |  |  |  | 9
17 | 10 | [5 empty] | 10 |  |  |  |  | 10
17 | 11 | [5 empty] | 11 |  |  |  |  | 11
17 | 12 | [5 empty] | 12 |  |  |  |  | 12
17 | 13 | [5 empty] | 13 |  |  |  |  | 13
17 | 14 | [5 empty] | 14 |  |  |  |  | 14
17 | 15 | [5 empty] | 15 |  |  |  |  | 15
17 | 16 | [5 empty] | 16 |  |  |  |  | 16
17 | 17 | [5 empty] | 17 |  |  |  |  | 17
17 | 18 | [5 empty] | 18 |  |  |  |  | 18
18 | 19 | [5 empty] | 19 |  |  |  |  | 19
18 | 20 | [5 empty] | 20 |  |  |  |  | 20
18 | 21 | [5 empty] | 21 |  |  |  |  | 21
18 | 22 | [5 empty] | 22 |  |  |  |  | 22
18 | 23 | [5 empty] | 23 |  |  |  |  | 23
18 | 24 | [5 empty] | 24 |  |  |  |  | 24
18 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Pomona Courthouse South PPA | [5 empty] | The Robert M. Falasco Justice Center PPA |  |  |  |  | Mammoth Lakes Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
19 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
19 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
19 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
19 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
19 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
19 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
19 | 7 | [5 empty] | 7 |  |  |  |  | 7
19 | 8 | [5 empty] | 8 |  |  |  |  | 8
19 | 9 | [5 empty] | 9 |  |  |  |  | 9
20 | 10 | [5 empty] | 10 |  |  |  |  | 10
20 | 11 | [5 empty] | 11 |  |  |  |  | 11
20 | 12 | [5 empty] | 12 |  |  |  |  | 12
20 | 13 | [5 empty] | 13 |  |  |  |  | 13
20 | 14 | [5 empty] | 14 |  |  |  |  | 14
20 | 15 | [5 empty] | 15 |  |  |  |  | 15
20 | 16 | [5 empty] | 16 |  |  |  |  | 16
20 | 17 | [5 empty] | 17 |  |  |  |  | 17
20 | 18 | [5 empty] | 18 |  |  |  |  | 18
21 | 19 | [5 empty] | 19 |  |  |  |  | 19
21 | 20 | [5 empty] | 20 |  |  |  |  | 20
21 | 21 | [5 empty] | 21 |  |  |  |  | 21
21 | 22 | [5 empty] | 22 |  |  |  |  | 22
21 | 23 | [5 empty] | 23 |  |  |  |  | 23
21 | 24 | [5 empty] | 24 |  |  |  |  | 24
21 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Banning Justice Center PPA | [5 empty] | San Benito County Superior Court PPA |  |  |  |  | San Bernardino Justice Center PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
22 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
22 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
22 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
22 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
22 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
22 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
22 | 7 | [5 empty] | 7 |  |  |  |  | 7
22 | 8 | [5 empty] | 8 |  |  |  |  | 8
22 | 9 | [5 empty] | 9 |  |  |  |  | 9
23 | 10 | [5 empty] | 10 |  |  |  |  | 10
23 | 11 | [5 empty] | 11 |  |  |  |  | 11
23 | 12 | [5 empty] | 12 |  |  |  |  | 12
23 | 13 | [5 empty] | 13 |  |  |  |  | 13
23 | 14 | [5 empty] | 14 |  |  |  |  | 14
23 | 15 | [5 empty] | 15 |  |  |  |  | 15
23 | 16 | [5 empty] | 16 |  |  |  |  | 16
23 | 17 | [5 empty] | 17 |  |  |  |  | 17
23 | 18 | [5 empty] | 18 |  |  |  |  | 18
24 | 19 | [5 empty] | 19 |  |  |  |  | 19
24 | 20 | [5 empty] | 20 |  |  |  |  | 20
24 | 21 | [5 empty] | 21 |  |  |  |  | 21
24 | 22 | [5 empty] | 22 |  |  |  |  | 22
24 | 23 | [5 empty] | 23 |  |  |  |  | 23
24 | 24 | [5 empty] | 24 |  |  |  |  | 24
24 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Kearny Mesa Court PPA | [5 empty] | East County Regional Center PPA |  |  |  |  | Northern Branch Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
25 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
25 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
25 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
25 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
25 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
25 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
25 | 7 | [5 empty] | 7 |  |  |  |  | 7
25 | 8 | [5 empty] | 8 |  |  |  |  | 8
25 | 9 | [5 empty] | 9 |  |  |  |  | 9
26 | 10 | [5 empty] | 10 |  |  |  |  | 10
26 | 11 | [5 empty] | 11 |  |  |  |  | 11
26 | 12 | [5 empty] | 12 |  |  |  |  | 12
26 | 13 | [5 empty] | 13 |  |  |  |  | 13
26 | 14 | [5 empty] | 14 |  |  |  |  | 14
26 | 15 | [5 empty] | 15 |  |  |  |  | 15
26 | 16 | [5 empty] | 16 |  |  |  |  | 16
26 | 17 | [5 empty] | 17 |  |  |  |  | 17
26 | 18 | [5 empty] | 18 |  |  |  |  | 18
27 | 19 | [5 empty] | 19 |  |  |  |  | 19
27 | 20 | [5 empty] | 20 |  |  |  |  | 20
27 | 21 | [5 empty] | 21 |  |  |  |  | 21
27 | 22 | [5 empty] | 22 |  |  |  |  | 22
27 | 23 | [5 empty] | 23 |  |  |  |  | 23
27 | 24 | [5 empty] | 24 |  |  |  |  | 24
27 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | Downtown Superior Court PPA | [5 empty] | Sutter County Superior Courthouse PPA |  |  |  |  | Tehama County Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
28 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
28 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
28 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
28 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
28 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
28 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
28 | 7 | [5 empty] | 7 |  |  |  |  | 7
28 | 8 | [5 empty] | 8 |  |  |  |  | 8
28 | 9 | [5 empty] | 9 |  |  |  |  | 9
29 | 10 | [5 empty] | 10 |  |  |  |  | 10
29 | 11 | [5 empty] | 11 |  |  |  |  | 11
29 | 12 | [5 empty] | 12 |  |  |  |  | 12
29 | 13 | [5 empty] | 13 |  |  |  |  | 13
29 | 14 | [5 empty] | 14 |  |  |  |  | 14
29 | 15 | [5 empty] | 15 |  |  |  |  | 15
29 | 16 | [5 empty] | 16 |  |  |  |  | 16
29 | 17 | [5 empty] | 17 |  |  |  |  | 17
29 | 18 | [5 empty] | 18 |  |  |  |  | 18
30 | 19 | [5 empty] | 19 |  |  |  |  | 19
30 | 20 | [5 empty] | 20 |  |  |  |  | 20
30 | 21 | [5 empty] | 21 |  |  |  |  | 21
30 | 22 | [5 empty] | 22 |  |  |  |  | 22
30 | 23 | [5 empty] | 23 |  |  |  |  | 23
30 | 24 | [5 empty] | 24 |  |  |  |  | 24
30 | 25 | [5 empty] | 25 |  |  |  |  | 25
Site # | South County Justice Center PPA | [5 empty] | Yolo Superior Court PPA |  |  |  |  | Santa Ana Courthouse PPA
Site Name | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate |  | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate | Contract Period | Power Purchase Price | Contract Early Termination Value | Buyout Option Price | Annual Power Purchase Escalation Rate
| Year | $/kWh | $, Complete | $, Complete | % per Year |  | Year | $/kWh | $, Complete | $, Complete | % per Year | Year | $/kWh | $, Complete | $, Complete | % per Year
31 | 1 |  |  | N/A | N/A |  | 1 |  |  | N/A | N/A | 1 |  |  | N/A | N/A
31 | 2 |  |  | N/A |  |  | 2 |  |  | N/A |  | 2 |  |  | N/A
31 | 3 |  |  | N/A |  |  | 3 |  |  | N/A |  | 3 |  |  | N/A
31 | 4 |  |  | N/A |  |  | 4 |  |  | N/A |  | 4 |  |  | N/A
31 | 5 |  |  | N/A |  |  | 5 |  |  | N/A |  | 5 |  |  | N/A
31 | 6 |  |  | N/A |  |  | 6 |  |  | N/A |  | 6 |  |  | N/A
31 | 7 | [5 empty] | 7 |  |  |  |  | 7
31 | 8 | [5 empty] | 8 |  |  |  |  | 8
31 | 9 | [5 empty] | 9 |  |  |  |  | 9
32 | 10 | [5 empty] | 10 |  |  |  |  | 10
32 | 11 | [5 empty] | 11 |  |  |  |  | 11
32 | 12 | [5 empty] | 12 |  |  |  |  | 12
32 | 13 | [5 empty] | 13 |  |  |  |  | 13
32 | 14 | [5 empty] | 14 |  |  |  |  | 14
32 | 15 | [5 empty] | 15 |  |  |  |  | 15
32 | 16 | [5 empty] | 16 |  |  |  |  | 16
32 | 17 | [5 empty] | 17 |  |  |  |  | 17
32 | 18 | [5 empty] | 18 |  |  |  |  | 18
33 | 19 | [5 empty] | 19 |  |  |  |  | 19
33 | 20 | [5 empty] | 20 |  |  |  |  | 20
33 | 21 | [5 empty] | 21 |  |  |  |  | 21
33 | 22 | [5 empty] | 22 |  |  |  |  | 22
33 | 23 | [5 empty] | 23 |  |  |  |  | 23
33 | 24 | [5 empty] | 24 |  |  |  |  | 24
33 | 25 | [5 empty] | 25 |  |  |  |  | 25

## Add Alt 1 BESS (Optional) (hidden)
DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. If no value, leave blank. Do not alter gray cells. 2) Add Alt #1 is optional for this project 3) For BESS Add Alt financed offering term shall be 10-years inclusive of all necessary maintenance, warranty and software required to keep system operational. 4) Savings modeling assumptions: PV production shall be assumed to reduce demand (kW) by 70% of the modeled PV demand reduction. BESS may not take credit for this reduction. The intent of this requirement is to acknowledge that the PV system on its own will reduce demand for the site. The BESS system may not claim all demand reduction for the site and thereby over-state the savings from BESS. The analysis of savings from BESS should include interval data modeling for a non-TOU-Grandfathered system. As an example, for a given month, non-coincident demand: - Max demand before solar = 500 kW - Max modeled demand after solar = 400 kW - For BESS modeling, baseline demand should be = 430 kW (100 kW x 70%) - If PV + BESS modeling shows max demand reduction to 350 kW, BESS may take credit for 80 kW demand reduction, not 150 kW demand reduction. 5) If assumed tariff for BESS differs from the Post-Construction tariff shown in the Site Data tab, please note the new assumed tariff in the Notes section. Notes: > Demand savings should be based on the tariff in-place with solar implemented, not the original tariff. > PPA offers below are incurred for the duration of the BESS contract term > PPA Adders for BESS should be based on a 0% annual escalator
#VALUE!
#REF!
Proposing Company Name: |  | #REF!
Battery Energy Storage System (BESS) Details
BESS Specifications
BESS Provider
Battery Manufacturer
Control System/Software Provider
BESS Contract Term, Years
SGIP Reservation Step Assumed
Annual Degradation Rate
Optional BESS Details
Recharge from Solar (%)
Discharge Efficiency (%)
Charge Efficiency (%)
Maximum Depth of Discharge (%)
Battery Energy Storage System (BESS) Sizing, Cost & Savings
Site Details |  |  |  | PPA Proposal |  | Lease Proposal |  |  |  | Size |  |  | PV Yr-1 | BESS Yr-1
Site Number | Site Name |  | BESS Recommended (Y/N) | PPA Adder for BESS ($/kWh) | Total Yr-1 BESS PPA Adder ($) | Year-1 Lease Adder for BESS ($) | Lease Term (Years) | Annual Interest Rate (%) | Unit Cost ($/kWh) | kW | kWh | Total Footprint Reqd. (SF) | Demand Savings ($) | BESS Demand Savings ($) | Other Value Streams ($) | Total Yr-1 BESS Savings ($)
1 | Fremont Hall of Justice | [5 empty] | #REF! | #REF!
2 | Amador Superior Court | [5 empty] | #REF! | #REF!
3 | North Butte County Courthouse | [5 empty] | #REF! | #REF!
4 | Bray Courts | [5 empty] | #REF! | #REF!
5 | Richard E. Arnason Justice Center | [5 empty] | #REF! | #REF!
6 | Walnut Creek Courthouse | [5 empty] | #REF! | #REF!
7 | B. F. Sisk Courthouse | [5 empty] | #REF! | #REF!
8 | Imperial County Courthouse | [5 empty] | #REF! | #REF!
9 | Delano/North Kern Court | [5 empty] | #REF! | #REF!
10 | Kings Superior Court | [5 empty] | #REF! | #REF!
11 | Whittier Courthouse | [5 empty] | #REF! | #REF!
12 | Santa Monica Courthouse | [5 empty] | #REF! | #REF!
13 | Van Nuys Courthouse East | [5 empty] | #REF! | #REF!
14 | Torrance Courthouse | [5 empty] | #REF! | #REF!
15 | Glendale Courthouse | [5 empty] | #REF! | #REF!
16 | Monrovia Training Center | [5 empty] | #REF! | #REF!
17 | Edmund D. Edelman Children's Court | [5 empty] | #REF! | #REF!
18 | Hollywood Courthouse | [5 empty] | #REF! | #REF!
19 | Pomona Courthouse South | [5 empty] | #REF! | #REF!
20 | The Robert M. Falasco Justice Center | [5 empty] | #REF! | #REF!
21 | Mammoth Lakes Courthouse | [5 empty] | #REF! | #REF!
22 | Banning Justice Center | [5 empty] | #REF! | #REF!
23 | San Benito County Superior Court | [5 empty] | #REF! | #REF!
24 | San Bernardino Justice Center | [5 empty] | #REF! | #REF!
25 | Kearny Mesa Court | [5 empty] | #REF! | #REF!
26 | East County Regional Center | [5 empty] | #REF! | #REF!
27 | Northern Branch Courthouse | [5 empty] | #REF! | #REF!
28 | Downtown Superior Court | [5 empty] | #REF! | #REF!
29 | Sutter County Superior Courthouse | [5 empty] | #REF! | #REF!
30 | Tehama County Courthouse | [5 empty] | #REF! | #REF!
31 | South County Justice Center | [5 empty] | #REF! | #REF!
32 | Yolo Superior Court | [5 empty] | #REF! | #REF!
Notes:

## Add Alt 1 EVSE (Optional) (hidden)
DIRECTIONS FOR FILLING OUT THIS WORKSHEET 1) Proposers must fill in all yellow cells that are applicable to their proposal. If no value, leave blank. Do not alter gray cells. 2) Add Alt #1 EVSE Installation is optional for this project 3) The EVSE Installation Cost Proposal should only be reflective of installation services. The EV Chargers, Networking Services, CMS, and O&M will be separately procured. Do not include these in your costs. 4) The EVSE Installation Cost Proposal is inclusive of all Behind-the-Meter infrastructure costs including procurement and installation, except for procurement of the EV Chargers. This includes: - Complete electrical, structural, civil, landscape, geotechnical, and mechanical design and engineering services, including calculations, diagrams, specifications and stamped drawings as required for regulatory approval for installation and construction of all equipment and structures necessary for complete interconnected and operational EVSEs per Attachment A1 - Design-Build Contract.
#VALUE!
#REF!
Proposing Company Name: |  | #REF!
Electric Vehicle Supply Equipment (EVSE) Details
EVSE Specifications
Level 2 EVSE Manufacturer |  | Blink
Level 2 EVSE Model
Level 2 EVSE Power |  | 16.64
Level 3 EVSE Manufacturer |  | ABB
Level 3 EVSE Model
Level 3 EVSE Power |  | 180
EVSE Installation Cost Proposal
Site Details | [6 empty] | Cost Proposal
Site Number | Site Name |  | Qty Level 2 EVSE | Qty Level 3 EVSE | Total Qty EVSE | Total installed EVSE kW | Level 2 EVSE Install Cost ($/EVSE) | Level 3 EVSE Install Cost ($/EVSE) | Total Install Cost ($)
1 | Fremont Hall of Justice |  | 10 | 5 | 15 | 1066.4 | 5000 | 30000 | 200000
2 | Amador Superior Court |  | 5 | 2 | 7 | 443.2 | 3800 | 32000 | 83000
3 | North Butte County Courthouse |  | 20 | 5 | 25 | 1232.8 | 4500 | 30000 | 240000
4 | Bray Courts |  | 11 | 4 | 15 | 903.04 | 5000 | 28000 | 167000
[5 empty] | 62 |  |  |  | 690000
Notes:

## Fi - PPA BO (hidden)
[15 empty] | 25-year Project Analysis - Expected Scenario, 25-year Contract, Termination Value End of Term Buyout |  | #REF! | Nominal $ |  |  |  |  | 25-year Project Analysis - Minimum Guaranteed Scenario, 20-year Contract, $0 End of Term Buyout |  | #REF! | Nominal $
[15 empty] | Energy Cost, NO PV |  | #REF! | #REF! |  |  |  |  | Energy Cost, NO PV |  | #REF! | #REF!
[15 empty] | Energy Cost, with PV |  | #REF! | #REF! |  |  |  |  | Energy Cost, with PV |  | #REF! | #REF!
[15 empty] | Project Lifetime Energy Savings |  | #REF! | #REF! |  |  |  |  | Project Lifetime Energy Savings |  | #REF! | #REF!
[15 empty] | Project IRR |  | #VALUE! | [5 empty] | Project IRR |  | #VALUE!
[11 empty] | Buyout Year: |  |  |  | Simple Payback, Years |  | #REF! | [5 empty] | Simple Payback, Years |  | #REF!
7
| Incentives & Other Savings |  | Project Operating Costs | [5 empty] | Expected | [9 empty] | Minimum Guaranteed
Year | SGIP | BESS Savings | Insurance | PeGu | PV O&M | Inverter Replacement | Asset Management | De-commissioning | PPA Price ($/kWh) | PPA Payment ($) | PPA Buyout ($) | Annual Energy Costs, Post-PV | Total Operating Costs | Total Incentives & Other Savings | Total Annual Energy Cost | Utility Energy Costs (No PV) | Utility Savings | Cumulative Project Savings | PPA Payment ($) | PPA Buyout ($) | Annual Energy Costs, Post-PV | Total Incentives and Operating Costs | Total Annual Energy Cost | Utility Energy Costs | Utility Savings | Cumulative Project Savings
0 | [16 empty] | #REF! | #REF! | [6 empty] | #REF! | #REF!
1 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
17 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
19 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
20 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
23 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Note on R10: James Dobbs: Non-financed soft costs + Sage consulting fee.

## Cash Cash Flow Table & Graph (hidden)
ACWD Clean Energy Program - Multi-Site Solar Photovoltaic Project
#REF!
A | B | C | D | E | F | G | H | I | J
Year | Annual Energy Consumption Pre-PV | Annual Energy Consumption Post-PV | Annual Energy Costs, Pre-PV | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| (kWh) | (kWh) | $ | $ | $ | $ | $ | $ | $
0 | [8 empty] | #REF!
1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Totals | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## PPA Cash Flow Table & Graph (hidden)
#REF!
#REF!
Column | B | C | D | E | F | G | H | I | J | K | L
Year | Utility Electrical Energy Usage Before Solar | Utility Electrical Energy Cost Before Solar | PV Production | PPA Price | PPA Payment | Internal Operating Costs | Utility Electrical Energy Cost with Solar | Total Annual Electricity Costs with Solar | Utility Energy Cost Savings with Solar | Cumulative Project Savings | #REF!
| (kWh) | $ | (kWh) | ($/kWh) | $ | $ | $ | $ | $ | $ | $
0
1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
23 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
25 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Totals | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF!

## Lists (hidden)
#REF!
#VALUE!
#REF!
Utility Company
PG&E
Yes/No |  | PPA Contact Term | Wire Type | Lease Types
Yes |  | 20 | Copper | Capital
No |  | 25 | Aluminum | Operating
Municipal
Tariff Lists |  |  | Active Tariff
PG&E | SCE | SDG&E | PG&E
A-1 | GS-1 |  | A-1
A-6 | GS-2 |  | A-6
A-10-S | GS-2-TOU-A |  | A-10-S
A-10-P | GS-2-TOU-R |  | A-10-P
A-10-T | RTP-2 |  | A-10-T
A-10 TOU-S | TOU-GS-1 |  | A-10 TOU-S
A-10 TOU-P | TOU-GS-3-A |  | A-10 TOU-P
A-10 TOU-T | TOU-GS-3-B |  | A-10 TOU-T
E-19-S | TOU-GS-3-R |  | E-19-S
E-19-P | TOU-8-A (<2kV) |  | E-19-P
E-19-T | TOU-8-B (<2kV) |  | E-19-T
TOU-8-R (<2kV)
Environmental Constants
CO2 lbs/kWh |  |  | Panel Mount Types
MEA |  |  | Ground
PG&E | 0.559 |  | Array Over Parking
SCE | 0.665 |  | Shade Structures
SDG&E | 0.915 |  | Roof Ballasted
Passenger Vehicle CO2/Year |  |  | Roof Racked
lbs CO2/Gal. | 19.643
Miles/yr | 12500 |  | Mounting types
MPG | 25 |  | Single Post, Single Cantilever
lbs CO2/car/yr | 9821.5 |  | Single Post, Double Cantalever
Trees |  |  | Multi-Post, non-Cantilever
lbs CO2/year/tree | 13
lbs CO2/year/acre | 5200