## Sheet1
RFQ No: | FSO-2018-3-JMG
RFQ Name: | Fire Protection and Life Safety Consulting Services
| Attachment 5 - Scope of Consultant Provided Services |  |  |  |  | Proposer Name:
| RFQ Section No. | Description of Services | Ability to Provide |  | Utilize Subcontractor |  | Comments
|  |  | Yes | No | Yes | No
| 2.2.1 | Provide architectural plan and specification review during various stages of Capital and Facility Modification Projects. Plan reviews will be conducted to ensure conformance with approved plans, and compliance with fire and life safety code and Judicial Council standards requirements in effect for the State-owned buildings. Provide recommendations as may be appropriate based on best practices, latest innovations, accumulated experience and lessons learned.
| 2.2.2 | Provide smoke control peer review of design performed by others and as directed by the State Fire Marshal or other Authority Having Jurisdiction (“AHJ”). Smoke control experts acceptable to the AHJ must perform such peer review.
| 2.2.3 | Provide, where required, smoke control special inspection during construction phase to verify that the smoke control system as installed conforms to the design parameters of the approved smoke control report prepared by the architect design team and per requirements of the California Building Code and California Fire Code.
| 2.2.4 | Provide field inspections/surveys during construction and commissioning phases of all or specific fire and life safety systems to ensure compliance with State and local building codes, NFPA standards, architect’s plans and specifications and requirements of the Judicial Council.
| 2.2.5 | Provide field inspections/surveys during construction and commissioning phases of all or specific fire and life safety systems to ensure compliance with State and local building codes, NFPA standards, architect’s plans and specifications and requirements of the Judicial Council.
| 2.2.6 | Preparation of engineering judgments on fire and life safety issues as required during design and construction phases. Peer review of engineering judgements prepared by others (e.g. architects, contractors, manufactures, etc.).
| 2.2.7 | Provide review and analysis of specific State Fire Marshal inspection citations during construction and commissioning phases, and provide recommendations on suitable course(s) of action.
| 2.2.8 | Prepare Alternate Methods of Construction documentation where recommended or requested for review and possible acceptance by the State Fire Marshal or other AHJ.
| 2.2.9 | Negotiate with the State Fire Marshal/AHJ on behalf of the Judicial Council on fire and life safety issues in connection with any of the work elements listed herein.
| 2.2.10 | Prepare lessons learned document on specific or various aspects of fire and life safety issues on individual or multiple projects as requested.
| 2.2.11 | Provide inspections, survey and analysis of existing facilities on fire and life safety systems and recommendations for repair, additions, and modifications. Examples include, without limitation, fire sprinkler systems and associated equipment and fire alarm systems.
| 2.2.12 | Prepare specifications and/or scope of work with drawings where required for repair, additions, and modifications for fire and life safety systems in existing facilities that would meet the requirements of State Fire Marshal or local fire departments. Provide supervision and commissioning services as needed or requested.
| 2.2.13 | Perform review and analysis of specific State Fire Marshal inspection correction notices for existing facilities and provide recommendations on appropriate course(s) of action. Provide code analysis and/or engineering judgments where required or requested.
| 2.2.14 | Provide consulting services on an as-needed basis related to code interpretation, analysis of specific fire and life safety issues, engineering calculations, consultations with State Fire Marshal and local fire department recommendations where appropriate.
| 2.2.15 | Perform special projects to enhance the ability of the Judicial Council to successfully implement its design, construction, inspection, and maintenance programs of courthouse projects or facilities. Examples include, without limitation, preparation of forms, procedures, specifications, and standards related to fire protection and life safety.
Notes:
(a) Description of Services above is a summary. Refer to corresponding section number within RFQ for details.
(b) Provide check or cross mark in the applicable 'Yes' or 'No' box.
(c) Comments, clarification or additional information may be provided in 'Comments' column, if needed.
(d) As the Judicial Council may require a wide range of services, the ability or interest to provide different services will not be a factor in the selection of the pool of consultants. Some companies may be able or interested in only one or two of the above services.